## EDM Return for Anglian Water
Water Company Name | Site Name | Permit No. | Activity Reference (if more than one discharge) on permit | Shellfishery (Only populate for storm overflows that have Shellfish water EDM requirements) | Bathing Beach (Only populate for storm overflows that have bathing water EDM requirements) | Total Duration (hours) of all spills prior to processing through 12-24 hour counting method | Counted spills using 12-24hr counting method | % of reporting period EDM operational | Comments
Anglian Water | ABTHORPE TPS | AW1NF947/V001 | CSO | N/a | N/a | 0.5 | 2 | 100%
Anglian Water | ANWICK-RIVER LA TPS | ANNNF3244/13375/V001 | CSO | N/a | N/a | 309.25 | 37 | 100%
Anglian Water | ARRINGTON STW | ASCNF176/10117 | CSO | N/a | N/a | 59.5 | 23 | 99.99%
Anglian Water | ASHTON STW | AW1NF1362/V002 | CSO | N/a | N/a | 0 | 0 | 100%
Anglian Water | ATTLEBOROUGH-NORWICH RD #2 SP | AECNF782/11045/V001 | CSO | N/a | N/a | 36 | 3 | 100%
Anglian Water | Austin Field PS | AECTS189/10313/V001 | CSO | N/a | N/a | 11.5 | 13 | 100%
Anglian Water | BADWELL ASH STW | ASCNF2/10277/V002 | CSO | N/a | N/a | 1121.5 | 67 | 99.92% | Under investigation
Anglian Water | BARRINGTON-SLID LA #2 OV | AW1NF1380/V001 | CSO | N/a | N/a | 16 | 4 | 99.78%
Anglian Water | Beccles - Common Lane North TPS | ASETS16674/V001 | CSO | N/a | N/a | 85.5667 | 21 | 100%
Anglian Water | BEDFORD STW | AW1NF2460/V004 | CSO | N/a | N/a | 176.75 | 24 | 99.94%
Anglian Water | BELAUGH STW | AW4TF/351/V002 | CSO | N/a | N/a | 327.25 | 28 | 100%
Anglian Water | BENFLEET STW | CSSC.4458/V001 | CSO | N/a | N/a | 243 | 34 | 100%
Anglian Water | BENFLEET-MARSH TPS | AW2NFE08669/V001 | CSO | N/a | N/a | 56.5 | 11 | 100%
Anglian Water | BENHALL STW | ASENF2052/V001 | CSO | N/a | N/a | 23.25 | 4 | 100%
Anglian Water | BIGGLESWADE DARK LANE SSO | AWCNF11839/V001 | CSO | N/a | N/a | 21.5 | 25 | 99.97%
Anglian Water | BIGGLESWADE-SHORTMEAD ST TPS | AWCNF10469A | CSO | N/a | N/a | 188.75 | 13 | 100%
Anglian Water | Boston - Church Rd sp | AW3NFF988/V001 | CSO / EO | West Wash | N/a | 9.5667 | 4 | 99.73%
Anglian Water | Boston - East Side TPS | AW3TSF904/V002 | CSO | West Wash | N/a | 229.1 | 39 | 100%
Anglian Water | Boston - Fenside Rd sp | ANNNF4086/13728/V001 | CSO / EO | West Wash | N/a | 0.16667 | 3 | 99.99%
Anglian Water | Boston - London Rd PS | ANNNTS4084/13726/V001 | CSO / EO | West Wash | N/a | 0 | 0 | 36.35% | Under investigation
Anglian Water | Boston - London Rd sp (south forty foot drain) | AW3NFF987/V001 | CSO / EO | West Wash | N/a | 0 | 0 | 0% | Changed to alternative monitor position, now resolved
Anglian Water | Boston - Norfolk Place CSO | ANNTS4089/1373/V001 | CSO | West Wash | N/a | 3.5 | 10 | 100%
Anglian Water | Boston - Norfolk Street | ANNNF/4096/13733/V001 | CSO | West Wash | N/a | 2.5 | 18 | 100%
Anglian Water | Boston - Queens Rd | AWNNF1758/V001 | CSO | West Wash | N/a | 5.5333 | 1 | 23.06% | Changed to alternative monitor position, now resolved
Anglian Water | Boston - Sleaford Rd sp | ANNNF4085/13727/V001 | CSO / EO | West Wash | N/a | 9.3667 | 15 | 100%
Anglian Water | BOTTISHAM STW | AW1NF302/V003 | CSO | N/a | N/a | 1.75 | 5 | 99.25%
Anglian Water | BRADFIELD-MAYPOLE GREEN PS | AW1NF1275/V001 | CSO | N/a | N/a | 141.5 | 15 | 100%
Anglian Water | Bradwell Waterside TPS | ASENF2698A | CSO | N/a | N/a |  |  |  | NPS have not yet issued a CSO condition under TDC project
Anglian Water | BRANDON STW | AW1NF939/V003 | CSO | N/a | N/a | 1.75 | 1 | 100%
Anglian Water | BRAUNSTON STW | AW5NF694/V002 | CSO | N/a | N/a | 96.25 | 35 | 100%
Anglian Water | Brigg - Gas House Lane TPS | ANNNF956v001 | CSO | N/a | N/a | 1.7 | 6 | 100%
Anglian Water | Brigg STW - settled storm | AW3NFF892/V001 | CSO | N/a | N/a | 21.4 | 11 | 100%
Anglian Water | Brightlingsea - Spring Rd CSO | ASENF3270/12165/V001 | CSO | Colne | N/a | 0.033333 | 1 | 100%
Anglian Water | Brightlingsea - West Dyke TPS (LWR PARK RD) CSO/EO | ASENF3284/12161/V001 | CSO / EO | Colne | N/a | 250.4667 | 43 | 100% | SOAF investigation (Storm Overflow Assesment Framework) with EA agreement in progress
Anglian Water | Brightlingsea overflow - lower park OV | ASENF3270/12162/V001 | CSO | Colne | N/a | 4182.6333 | 187 | 100% | Reporting logic resolved
Anglian Water | Brightlingsea overflow - Station road #58 | ASENF32702/12166/V001 | CSO | Colne | N/a | 3.6 | 12 | 99.99%
Anglian Water | Brightlingsea overflow (Bellfld 35) | ASENF3270/12163/V001 | CSO | Colne | N/a | 7.7 | 24 | 100%
Anglian Water | Brightlingsea overflow (western rd) community centre | ASENF3270/12167/V001 | CSO | Colne | N/a | 0.26667 | 4 | 96.91%
Anglian Water | BROUGHTON-TOWNHILL(MH4103) | ANNNF3685/13537/V001 | CSO | N/a | N/a | 0 | 0 | 75.69% | Operational issue now resolved
Anglian Water | BUCKINGHAM TOWN SP | AWCNF579/10471/V001 | CSO | N/a | N/a | 24.75 | 2 | 100%
Anglian Water | BUCKINGHAM- WEST STREET SSO | AWCNF1604/V003 | CSO | N/a | N/a | 0 | 0 | 99.99%
Anglian Water | BUNGAY NETHERGATE ST CSO | ASENF 3930/15588/V001 | CSO | N/a | N/a | 12.75 | 18 | 99.93%
Anglian Water | BUNGAY-BOYSCOTT LA SP | ASENF3927/15570/V001 | CSO | N/a | N/a | 2.5 | 3 | 100%
Anglian Water | BUNGAY-EARSHAM STREET SSO | AW4NF1774/V001 | CSO | N/a | N/a | 408.25 | 35 | 99.97%
Anglian Water | BUNGAY-ST JOHNS ROAD SSO | AW4NF1773/V001 | CSO | N/a | N/a | 0.75 | 3 | 99.95%
Anglian Water | Burnham Market STW SO | AEENF1265/V004 | CSO | Burnham Overy Creek | N/a | 413.3667 | 115 | 100% | Catchment investigation underway
Anglian Water | BURNHAM ON CROUCH STW - storm sewage | ASETS10533/V002 | CSO | N/a | N/a | 1274 | 81 | 100% | Possible SOAF investigation (Storm Overflow Assesment Framework) with EA agreement
Anglian Water | BUXTON-COLTISHALL RD TPS | AEENF2225/V003 | CSO | N/a | N/a | 8.75 | 8 | 83.84% | Operational issue now resolved
Anglian Water | BYLAUGH-NEAR CHURCH STW | AW4NF/624/V004 | CSO | N/a | N/a | 78.25 | 10 | 98.79%
Anglian Water | CAISTER - PUMP LANE STW | AEECS12404/V002 | CSO | N/a | N/a | 435.75 | 61 | 73.76% | Operational issue now resolved
Anglian Water | CAISTER-HEADWORKS PS | AEENF3662/12406/V001 | CSO | N/a | N/a | 55.5 | 26 | 99.97%
Anglian Water | CAISTOR STW | AW3NFF232/V003 | CSO | N/a | N/a | 2442.5 | 120 | 100% | SOAF investigation (Storm Overflow Assesment Framework) with EA agreement in progress
Anglian Water | Cambridge - Riverside 187 SSO | AWCNF11361/V001 | CSO | N/a | N/a | 9.8333 | 4 | 98.82%
Anglian Water | Cambridge STW - storm sewage and settled storm | ASCNF1033/V003 | CSO | N/a | N/a | 0 | 0 | 100%
Anglian Water | CANVEY ISLAND STW | B.794/V001 | CSO | N/a | N/a | 6397.75 | 331 | 100% | Possible SOAF investigation (Storm Overflow Assesment Framework) with EA agreement
Anglian Water | CANVEY-FURTHERWICK RD SP | AW2NFE11984/V001 | CSO | N/a | N/a | 0 | 0 | 100%
Anglian Water | CANVEY-NEW RD SP | ASETS2493/V003 | CSO | N/a | N/a | 60 | 5 | 100%
Anglian Water | CANVEY-POINT RD SP | ASETS16193/V001 | CSO | N/a | N/a | 9.25 | 3 | 100%
Anglian Water | CASTLE PT HIGH RD/SOUTHVIEW RD | EPR/NB3199AR/V001 | CSO | N/a | N/a | 0.5 | 1 | 100%
Anglian Water | CHELMSFORD STW | AW2TSE9961/V001_<1557l/s | CSO | N/a | N/a | 121.5 | 15 | 100%
Anglian Water | CHELMSFORD STW | AW2TSE9961/V001_>1557l/s | CSO | N/a | N/a | 315.25 | 32 | 100%
Anglian Water | CHELMSFORD-BUTTS WAY SP | ASENF540/10378/V001 | CSO | N/a | N/a | 0 | 0 | 100%
Anglian Water | CHELMSFORD-GALLEYWOOD RD SP | AEENF3926/15628/V001 | CSO | N/a | N/a | 25.5 | 8 | 95.65%
Anglian Water | CHELMSFORD-N MLBN CHIGNAL R SP | ASENF2502/V003 | CSO | N/a | N/a | 3.25 | 2 | 100%
Anglian Water | Clacton - Collingwood Road / Wash Lane CSO | ASECS12233/V001 | CSO | N/a | Clacton Groyne 41/Clacton Martello Tower | 0.1 | 2 | 100%
Anglian Water | Clacton - Kings Parade/Hazlemere Road CSO (CLARENDON/HOLLAND OV) | ASECS3328/12234/V001 | CSO | N/a | Clacton | 0 | 0 | 100%
Anglian Water | Clacton - Martello Tower Pumping Station | ASECS3330/12236/V001 | CSO | N/a | Clacton Martello Tower | 0.2 | 2 | 98.8%
Anglian Water | Clacton - Park Road/Vicarage Road CSO | ASECS3326/12232/V001 | CSO | N/a | Clacton Groyne 41/Clacton Martello Tower | 0.033333 | 1 | 99.99%
Anglian Water | Clacton - Victoria Road outfall | AW2CS662/V001 | CSO | N/a | Clacton | 0.23333 | 5 | 97.68%
Anglian Water | Clacton - West Road TPS | ASECS3325/12231/V001 | CSO | N/a | Clacton Martello Tower | 4.2 | 4 | 100%
Anglian Water | Clacton 23 Park Square, Jaywick | ASENF3333/12237/V001 | CSO | N/a | Jaywick | 14.6333 | 9 | 100%
Anglian Water | Clacton Golf Green Rd, Jaywick | ASETS3332/12240/V001 | CSO | N/a | Jaywick | 2.2 | 8 | 98.64%
Anglian Water | Clacton Seafront CSO/Gunfleet | ASECS3324/12230/V001 | CSO | N/a | Clacton | 0 | 0 | 100%
Anglian Water | Clacton STW Storm & EO | AEECS12401 /V005 | CSO | N/a | Holland | 428.5333 | 90 | 99.99% | Possible SOAF investigation (Storm Overflow Assesment Framework) with EA agreement
Anglian Water | Cliff Quay new tunnel (Ipswich tunnel outfall) | ASETS3276/12156/V001 | CSO | N/a | N/a | 9.8 | 28 | 99.98%
Anglian Water | CLOPHILL WORKS SP | AWCNF11064/V001 | CSO | N/a | N/a | 16 | 7 | 100%
Anglian Water | COGGESHALL-EAST ST R O #18 OV | AW2NFE02579/V001 | CSO | N/a | N/a | 0 | 0 | 97.85%
Anglian Water | Colchester - Hunting Gate CSO | ASETS4124/19244/V001 | CSO | Colne, Pyfleet | N/a | 0.43333 | 4 | 93.66%
Anglian Water | Colchester - Hythe Bridge | AW2TSE00863/V001 | CSO | Colne, Pyfleet | N/a | 17.7333 | 8 | 94.15%
Anglian Water | Colchester - Rowhedge Albion St CSO | ASETS15689/V001 | CSO | Colne | N/a | 0.36667 | 4 | 98.75%
Anglian Water | Colchester - Rowhedge Regent Court CSO | ASETS3961/15688/V001 | CSO | Colne | N/a | 107.4667 | 22 | 100%
Anglian Water | Colchester - Royal London Middleborough EO | ASENF19245/4125/V001 | EO | Colne, Pyfleet | N/a | 0 | 0 | 0% | Under investigation
Anglian Water | Colchester - St Albans Rd CSO | ASENF4126/19246/V001 | CSO | Colne, Pyfleet | N/a | 135.9333 | 28 | 91.21%
Anglian Water | Colchester STW Settled Storm | ASETS1046/V001 | CSO | Colne, Pyfleet | N/a | 1619.3667 | 81 | 100% | Possible SOAF investigation (Storm Overflow Assesment Framework) with EA agreement
Anglian Water | COLCHESTER-EAST BAY MAIN INT | AW2TSE03384/V001 | CSO | N/a | N/a | 3.25 | 7 | 99.97%
Anglian Water | COLCHESTER-HAVEN RD OV | ASETS4123/19243/V001 | CSO | N/a | N/a | 15.25 | 12 | 99.97%
Anglian Water | COLCHESTER-SPRING LA OV | ASENF3627/12396/V001 | CSO | N/a | N/a | 111.5 | 18 | 100%
Anglian Water | COLD NORTON-STOW RD SP | ASENF2637/V003 | CSO | N/a | N/a | 185.5 | 27 | 100%
Anglian Water | COMBS FORD-COMBS FORD TPS | AW4NF808X/V001 | CSO | N/a | N/a | 26.25 | 6 | 100%
Anglian Water | CONINGSBY STW | ANNNF/1049/V001 | CSO | N/a | N/a | 1208.5 | 95 | 100% | SOAF investigation (Storm Overflow Assesment Framework) with EA agreement in progress
Anglian Water | CORBY-STUDFALL AVENUE SSO | AW5NF463/V001 | CSO | N/a | N/a | 8.5 | 2 | 100%
Anglian Water | CORTON-BAKERS SCORE PS, Corton, Lowestoft, Suffolk | ASETS2120/V001 | CSO | N/a | N/a | 37.5 | 20 | 99.98%
Anglian Water | CORTON-CHURCH LANE SM | ASECS3949/15627/V001 | CSO | N/a | N/a | 2.5 | 3 | 99.95%
Anglian Water | COSGROVE-DOGSMOUTH SO SSO | AWCNF3754/11624/V001 | CSO | N/a | N/a | 426.5 | 53 | 100%
Anglian Water | COTTON VALLEY STW | AWCNF10296/V002 | CSO | N/a | N/a | 115.25 | 10 | 100%
Anglian Water | Cromer STW | AEECS3749/V001 | CSO | N/a | N/a | 1219.1333 | 154 | 100% | Operational issue now resolved
Anglian Water | Cromer West Beach Sewage Tank (PROMENADE TPS) | AEECS868/12071/V001 | CSO | N/a | Cromer | 0.26667 | 2 | 100%
Anglian Water | CROWFIELD SP | AW1NF809/V001 | CSO | N/a | N/a | 390.5 | 41 | 100%
Anglian Water | DEANSHANGER SO SSO | AWCNF1627/V001 | CSO | N/a | N/a | 0 | 0 | 100%
Anglian Water | DEDHAM STW | ASENF1055/V003 | CSO | N/a | N/a | 1033.5 | 61 | 100% | Scaling adjusted
Anglian Water | DENFORD SP | AWCNF1572/V001 | CSO | N/a | N/a | 70.75 | 12 | 100%
Anglian Water | DESBOROUGH SP | AW5NF689/V001 | CSO | N/a | N/a | 53.25 | 23 | 100%
Anglian Water | DESBOROUGH-HILLTOP AVENUE SSO | AWNNF3994/13660/V001 | CSO | N/a | N/a | 16.75 | 7 | 100%
Anglian Water | DESBOROUGH-NEAR CORSET FACTO | AWNNF4112/13851/V001 | CSO | N/a | N/a | 21.75 | 33 | 98.8%
Anglian Water | DESBOROUGH-RECTORY FIELD SSO | AW5NF1888/V001 | CSO | N/a | N/a | 27.75 | 17 | 100%
Anglian Water | DESBOROUGH-RUSHTON RD SSO | AW5NF1887/V001 | CSO | N/a | N/a | 3.25 | 11 | 99.99%
Anglian Water | DISS STW | AW4NF/625/V004 | CSO | N/a | N/a | 213.75 | 54 | 98.58%
Anglian Water | DISS-SARACENS HD MOUNT ST OV | AEENF91766/10175/V001 | CSO | N/a | N/a | 2 | 4 | 99.99%
Anglian Water | DOVERCOURT-LOW RD SP | AW2NF382/V001 | CSO | N/a | N/a | 53.75 | 58 | 100%
Anglian Water | DOWNHAM MARKET-DENIS SNZM SSO | AECNF259/10445/V001 | CSO | N/a | N/a | 0 | 0 | 100%
Anglian Water | DOWNHAM MARKET-RAILWAY SSO | AECNF256/10443/V001 | CSO | N/a | N/a | 0 | 0 | 100%
Anglian Water | DOWNHAM MKT-LYNN ROAD OV | AECNF260/10446/V001 | CSO | N/a | N/a | 0 | 0 | 100%
Anglian Water | DRAUGHTON STW | AW5NF5221/V002 | CSO | N/a | N/a | 2217.5 | 118 | 100% | Operational issue resolved, under further investigation
Anglian Water | E TILBURY-BATA(LINFORD) TPS | AW2NFE00981/V001 | CSO | N/a | N/a | 27 | 4 | 100%
Anglian Water | EARLS BARTON TPS | AWCNF2266/V003 | CSO | N/a | N/a | 65.5 | 37 | 100%
Anglian Water | East Runton - Beach Rd TPS | AEECS12197/V002 | CSO | N/a | N/a | 7.5 | 5 | 99.99%
Anglian Water | ELTON STW | AWNNF955/13141/V001 | CSO | N/a | N/a | 0 | 0 | 100%
Anglian Water | Ely - Lisle lane | AECNF203/10401/V001 | CSO | N/a | N/a | 1.7333 | 14 | 95.25%
Anglian Water | Ely - Willow Walk TPS | AECNF3110/11328/V001 | CSO | N/a | N/a | 0.16667 | 1 | 100%
Anglian Water | Ely New STW - settled storm | AWCNF11352/V002 | CSO | N/a | N/a | 3985 | 168 | 65.52% | Changed to alternative monitor type, now resolved
Anglian Water | Ely Old STW - settled storm | AW1NF1176/V001 | CSO | N/a | N/a | 94.5667 | 88 | 91.65% | Changed to alternative monitor position, now resolved
Anglian Water | ELY-WALSINGHAM WAY OV | AECNF204/10402/V001 | CSO | N/a | N/a | 25.25 | 28 | 99.99%
Anglian Water | FAKENHAM STW (OLD AND NEW) | AEENF3904/15448/V001 | CSO | N/a | N/a | 506.75 | 39 | 100%
Anglian Water | FAKENHAM-NORWICH ROAD OV | AEENF889/12045/V001 | CSO | N/a | N/a | 4 | 10 | 100%
Anglian Water | FELTWELL STW | AW1NF213/V002 | CSO | N/a | N/a | 1003.75 | 61 | 100% | SOAF investigation (Storm Overflow Assesment Framework) with EA agreement in progress
Anglian Water | FISH DOCKS PS, Humber Bridge Road, Grimsby | ANNTS4114/13404/V001 | CSO | N/a | N/a | 85.75 | 74 | 99.95% | Possible SOAF investigation (Storm Overflow Assesment Framework) with EA agreement
Anglian Water | FISHTOFT STW | ANNNF1069/V001 | CSO | N/a | N/a | 2.75 | 4 | 98.57%
Anglian Water | FORNHAM ALL SAINTS STW | AW1NF545/V003 | CSO | N/a | N/a | 199 | 16 | 100%
Anglian Water | Frinton - Upper Second Avenue - The Close | ASENF3684/12381/V001 | CSO | N/a | Frinton | 44.3667 | 54 | 100% | Proposed SOAF investigation (Storm Overflow Assesment Framework) with EA agreement
Anglian Water | Frinton on sea - Ashlyn's Road SPS | AW2NFE08784/V001 | CSO | N/a | Frinton | 27.8333 | 9 | 100%
Anglian Water | Frinton on sea - Esplanade/Second Ave CSO | ASECS3309/12191/V001 | CSO | N/a | Frinton | 0.83333 | 11 | 99.61%
Anglian Water | Frinton on sea - First Avenue | ASENF3683/12382/V001 | CSO | N/a | Frinton | 15.5 | 5 | 100%
Anglian Water | Frinton on sea - Holland Rd/Second Ave CSO | ASENF3310/12192/V001 | CSO | N/a | Frinton | 20.6333 | 10 | 100%
Anglian Water | Frinton on sea - Queens Road/Esplanade CSO | ASECS3311/12194/V001 | CSO | N/a | Frinton | 0.16667 | 2 | 100%
Anglian Water | GODMANCHESTER-WHITE HART TPS | AW1NF/2281/V001 | CSO | N/a | N/a | 0.75 | 2 | 100%
Anglian Water | Goldhanger - Fish Street SPS | AW2NFE10884/V001 | EO | Osea Island | N/a | 0 | 0 | 63.83% | Changed to alternative monitor, now resolved
Anglian Water | GREAT BILLING STW | AWNNF/13052/V003 | CSO | N/a | N/a | 574 | 111 | 100% | Proposed SOAF investigation (Storm Overflow Assesment Framework) with EA agreement
Anglian Water | GREAT CHESTERFORD STW | AWCNF3195/11340/V001 | CSO | N/a | N/a | 3 | 6 | 100%
Anglian Water | Great Wakering - Seaview Est SP | AW2NFE07169/V001 | CSO / EO | Foulness | N/a | 1.0333 | 2 | 99.97%
Anglian Water | Great Yarmouth - Boundary Road Storm PS | AEETS3291/12173/V001 | CSO | N/a | Great Yarmouth South | 1.1667 | 6 | 100%
Anglian Water | GT BADDOW HIGH ST/TABORS HL OV | ASENF3033/12078/V001 | CSO | N/a | N/a | 2.75 | 3 | 100%
Anglian Water | GT BENTLEY-THORRINGTON RD SP | ASENF563/10407/V001 | CSO | N/a | N/a | 215 | 42 | 100%
Anglian Water | GT BRINGTON SP | AW5NF5255/V001 | CSO | N/a | N/a | 205 | 36 | 100%
Anglian Water | GT WALDINGFIELD-FOLLEY RD SP | ASENF2370/V003 | CSO | N/a | N/a | 100.25 | 9 | 100%
Anglian Water | Gt Yarmouth - Bryants Quay CSO | AEETS3290/12175/V001 | CSO | N/a | Great Yarmouth Pier/Great Yarmouth South | 126.3 | 96 | 99.96% | Catchment investigation underway
Anglian Water | Gt Yarmouth-Gorleston - Gt Yarmouth Brush Bend | AEETS/3292/12178/V001 | CSO | N/a | Gorleston Beach | 26.3667 | 18 | 100%
Anglian Water | HALESWORTH STW | ASENF1286C | CSO | N/a | N/a | 458 | 42 | 100%
Anglian Water | HALVERGATE-MARSH RD SP | AW4NF928X/1 | CSO | N/a | N/a | 29.25 | 7 | 100%
Anglian Water | HARLAXTON STW | ANNNF1093/V002 | CSO | N/a | N/a | 1604.25 | 79 | 100% | SOAF investigation (Storm Overflow Assesment Framework) with EA agreement in progress
Anglian Water | HARPOLE-WEEDON RD SSO | AW5NF/1878/V001 | CSO | N/a | N/a | 2128.5 | 107 | 99.99% | SOAF investigation (Storm Overflow Assesment Framework) with EA agreement in progress
Anglian Water | HARWICH AND DOVERCOURT STW | ASETS/996/12050/V001_CSO | CSO | N/a | N/a | 56 | 21 | 100%
Anglian Water | HARWICH AND DOVERCOURT STW | ASETS/996/12050/V001_SSO | CSO | N/a | N/a | 30 | 38 | 100%
Anglian Water | HASLINGFIELD-STW | ASCNF1094/V001 | CSO | N/a | N/a | 428.25 | 49 | 100%
Anglian Water | Hatfield Peverel Crabbs Hill TPS | ASENF915/12034/V001 | CSO | N/a | N/a | 0.5 | 2 | 99.6%
Anglian Water | HAVERHILL STW | AW2NF342/V005 | CSO | N/a | N/a | 10.25 | 10 | 99.99%
Anglian Water | HIGHAM FERRERS-NORTHAMPTON RD | AWNNF4105/13857/V001 | CSO | N/a | N/a | 21.75 | 31 | 100%
Anglian Water | HITCHIN STW | AW1NF2464/V004_CSO | CSO | N/a | N/a | 4981.75 | 223 | 100% | Proposed SOAF investigation (Storm Overflow Assesment Framework) with EA agreement
Anglian Water | HITCHIN STW | AW1NF2464/V004_SSO | CSO | N/a | N/a | 3.75 | 4 | 100% | Proposed SOAF investigation (Storm Overflow Assesment Framework) with EA agreement
Anglian Water | HITCHIN-BANCROFT REC SSO | AW1NF1886/V001 | CSO | N/a | N/a | 0 | 0 | 99.99%
Anglian Water | HOLBEACH STW | AW5NF/378/V001 | CSO | N/a | N/a | 324.5 | 52 | 100% | Proposed SOAF investigation (Storm Overflow Assesment Framework) with EA agreement
Anglian Water | HOLCOT PS | AWNNF2385A | CSO | N/a | N/a |  |  |  | NPS have not yet issued a CSO condition under TDC project
Anglian Water | HOLLAND-HAVEN (NEW P S) TPS | ASENF2386A | CSO | N/a | Holland |  |  |  | NPS have not yet issued a CSO condition under TDC project
Anglian Water | Holme next the sea - BEECH RD SPS | AW4NF193X/V001 | EO | North East Wash | N/a | 158.3 | 15 | 100%
Anglian Water | HOLT-MAIN ROAD STW | AW4NF118AW/V001 | CSO | N/a | N/a | 17.25 | 2 | 100%
Anglian Water | HORHAM TPS | ASENF3039/12060/V001 | CSO | N/a | N/a | 40 | 9 | 100%
Anglian Water | HORNCASTLE-BANOVALLUM OV | ANNNF2770/V001 | CSO | N/a | N/a | 282.5 | 28 | 94.37%
Anglian Water | HORNCASTLE-SPORTS GROUND SSO | ANNNF/1760/V001 | CSO | N/a | N/a | 3934.25 | 197 | 98.94% | SOAF investigation (Storm Overflow Assesment Framework) with EA agreement in progress
Anglian Water | HORNCASTLE-THORNTON LA TPS | AW3NF/4061/863 | CSO | N/a | N/a | 90.25 | 10 | 100%
Anglian Water | HORNING-KNACKERS WOOD STW | AW4NF521/V001 | CSO | N/a | N/a | 7960.9997 | 306 | 100% | REDACTED flooding into catchment
Anglian Water | HULLBRIDGE-FERRY RD 2 PS | AW2NFE15768/V001 | CSO | N/a | N/a | 0 | 0 | 99.94%
Anglian Water | HULLBRIDGE-FERRY RD SP | AW2TS670/V001 | CSO | N/a | N/a | 44.5 | 7 | 100%
Anglian Water | HULLBRIDGE-WHITE POST CRNR TPS | AW2NFE18369/V001 | CSO | N/a | N/a | 120.5 | 15 | 100%
Anglian Water | HUMBERSTONE-HUMBERSTONE RD SSO | ANNNF2313/V003 | CSO | N/a | N/a | 795.25 | 63 | 91.88% | Under investigation
Anglian Water | Hunstanton - Smugglers Lane ps | ASENF12024/V001 | CSO / EO | North West Norfolk | N/a | 55.7667 | 40 | 99.97%
Anglian Water | Hunstanton Storm Overflow 1 (HUNSTANTON SOUTH END ROAD TPS) | AECCS660/10416/V001 | CSO | N/a | Hunstanton Main Beach | 21.9667 | 22 | 100%
Anglian Water | HUNTINGDON (GODMANCHESTER) STW | AWCNF/1106/B269/V004 | CSO | N/a | N/a | 171.5 | 12 | 100%
Anglian Water | Huntingdon Hartford Rd SP | AWCNF/11842/V001 | CSO | N/a | N/a | 146.0333 | 61 | 100% | Proposed SOAF investigation (Storm Overflow Assesment Framework) with EA agreement
Anglian Water | IMMINGHAM SEA OUTFALL | ANNTS3940/13654/V001 | CSO | N/a | N/a | 398 | 136 | 99.99% | Possible SOAF investigation (Storm Overflow Assesment Framework) with EA agreement
Anglian Water | INGOLDISTHORPE STW | AECNF1108/V001 | CSO | N/a | N/a | 474.75 | 31 | 100%
Anglian Water | INGOLDISTHORPE-SANDY LANE TPS | AECNF719/11043/V001 | CSO | N/a | N/a | 27.75 | 8 | 100%
Anglian Water | Ingoldmells - Southgate Camp | ANNNF2604/AW3NFF1185 | CSO | N/a | Ingoldsmells South |  |  |  | NPS have not yet issued a CSO condition under TDC project
Anglian Water | Ingoldmells (STW) PS | ANNTS3539/13470/V001 | CSO | N/a | Ingoldsmell South | 13.0667 | 6 | 100%
Anglian Water | INGOLDMELLS STW | ANNCS3740/13577/V003 | CSO | N/a | N/a | 7 | 10 | 99.97%
Anglian Water | Ipswich - Dock Street PS | AW4TS1430/12087/V001 | CSO | N/a | N/a | 30.2 | 19 | 99.85%
Anglian Water | Ipswich - Portmans Walk tank | ASETS3273/12153/V001 | CSO | N/a | N/a | 5.1 | 6 | 98.9%
Anglian Water | Ipswich - Stoke Bridge CSO | ASETS3275/12155/V001 | CSO | N/a | N/a | 8.5 | 6 | 100%
Anglian Water | Ipswich - Wolsey Street PS | AW4TS1427/12083 | CSO | N/a | N/a | 2.9667 | 22 | 66.17% | Under investigation
Anglian Water | IPSWICH-CLIFF QUAY RAEBURN ST | AEETS/3234/12128/V001 | CSO | N/a | N/a | 504 | 89 | 100% | Operational issue resolved, under further investigation
Anglian Water | IPSWICH-WHERSTEAD RD SP | AW4TS/1431/V001 | CSO | N/a | N/a | 18.75 | 20 | 100%
Anglian Water | IPSWICH-YARMOUTH RD BF | ASETS3277 | CSO | N/a | N/a | 2 | 3 | 97.01%
Anglian Water | IRCHESTER TPS | AWNNF2403A | CSO | N/a | N/a |  |  |  | NPS have not yet issued a CSO condition under TDC project
Anglian Water | IRTHLINGBOROUGH SP | AWNNF2404/V003 | CSO | N/a | N/a | 1.5 | 1 | 100%
Anglian Water | IRTHLINGBOROUGH-CROUCH RD SSO | EPR/NB3691NS/V001 | CSO | N/a | N/a | 10.75 | 18 | 99.23%
Anglian Water | ISLIP STW | AW5NF/557/V002 | CSO | N/a | N/a | 764 | 38 | 100%
Anglian Water | Jaywick - Brooklands Gardens PS | ASENF3334/12238/V001 | CSO | N/a | Jaywick | 0.033333 | 1 | 99.98%
Anglian Water | JAYWICK NEW STW | AEECS12400/V002 | CSO | N/a | N/a | 299.25 | 88 | 99.53% | Possible SOAF investigation (Storm Overflow Assesment Framework) with EA agreement
Anglian Water | KEMPSTON-VILLAGE HALL PS | AW1NF1320/V002 | CSO | N/a | N/a | 0.25 | 1 | 89.07% | Under investigation
Anglian Water | KESSINGLAND-MARSH LN STW | AW4NF/358X/V001 | CSO | N/a | N/a | 300.75 | 24 | 99.92%
Anglian Water | Kings Lynn - Gaywood Outfall | AECTS433/11056/V001 | CSO | South East Wash | N/a | 275.4333 | 53 | 100%
Anglian Water | Kings Lynn - Purfleet Quay PS | AECTS677/10467/V002 | CSO / EO | South East Wash | N/a | 54.6333 | 32 | 100%
Anglian Water | KINGS LYNN AUSTIN STREET OV | AECTS543/7 | CSO | N/a | N/a | 11.5 | 13 | 100%
Anglian Water | KINGS LYNN BLACKFRIARS RD OV | AECTS543/6 | CSO | N/a | N/a | 11.5 | 13 | 100%
Anglian Water | KINGS LYNN BLACKFRIARS ST OV | AECTS543/5 | CSO | N/a | N/a | 11.5 | 13 | 100%
Anglian Water | KINGS LYNN EXTONS RD OV | AECTS543/3 | CSO | N/a | N/a | 11.5 | 13 | 100%
Anglian Water | KINGS LYNN FERRY STREET OV | AECTS477/10312/V002 | CSO | N/a | N/a | 3 | 7 | 93.49%
Anglian Water | KINGS LYNN GAYWOOD ROAD OV | AECTS543/14 | CSO | N/a | N/a | 11.5 | 13 | 100%
Anglian Water | KINGS LYNN GOODWINS ROAD OV | AECTS543/2 | CSO | N/a | N/a | 11.5 | 13 | 100%
Anglian Water | KINGS LYNN KING GEORGE V AV OV | AECTS543/11 | CSO | N/a | N/a | 11.5 | 13 | 100%
Anglian Water | KINGS LYNN LOKE ROAD EAST OV | AECTS543/15 | CSO | N/a | N/a | 11.5 | 13 | 100%
Anglian Water | KINGS LYNN PAGESTAIR LANE OV | EPR/NB3292AG/V001 | CSO | N/a | N/a | 0 | 0 | 99.88%
Anglian Water | KINGS LYNN STW | AECTS3037/11334/V001 | CSO | N/a | N/a | 11.5 | 3 | 100%
Anglian Water | KINGS LYNN TENNYSON AV (N) OV | AECTS543/12 | CSO | N/a | N/a | 11.5 | 13 | 100%
Anglian Water | KINGS LYNN TENNYSON AV (S) OV | AECTS543/10 | CSO | N/a | N/a | 11.5 | 13 | 100%
Anglian Water | KINGS LYNN TENNYSON RD OV | AECTS543/4 | CSO | N/a | N/a | 11.5 | 13 | 100%
Anglian Water | KINGS LYNN TUESDAY MKT PL OV | EPR/NB3291NA/V001 | CSO | N/a | N/a | 0.75 | 3 | 100%
Anglian Water | KINGS LYNN WATER LANE OV | EPR/NB3291WL/V001 | CSO | N/a | N/a | 3.25 | 8 | 100%
Anglian Water | KINGS LYNN WOOTTON QE AV OV | AECTS543/18 | CSO | N/a | N/a | 11.5 | 13 | 100%
Anglian Water | KINGS LYNN WOOTTON RIVER LN OV | AECTS543/16 | CSO | N/a | N/a | 11.5 | 13 | 100%
Anglian Water | KINGS LYNN-FRIARS OV | AW1NF914/V001 | CSO | N/a | N/a | 1 | 3 | 95.47%
Anglian Water | KINGS LYNN-GAYWOOD OUTFALL 2 OV | AECTS439/11057/V001 | CSO | N/a | N/a | 275.75 | 52 | 100%
Anglian Water | KINGS LYNN-HIGHGATE OV | AECNF740/11032/V001 | CSO | N/a | N/a | 29.25 | 13 | 100%
Anglian Water | KINGS LYNN-MILLFLEET SO1 OV | AW1NF1040/V001 | CSO | N/a | N/a | 79.25 | 71 | 99.45% | Under investigation
Anglian Water | KINGS LYNN-MILLFLEET SO2 OV | AW1NF1041/V001 | CSO | N/a | N/a | 394.75 | 71 | 35.73% | SOAF investigation (Storm Overflow Assesment Framework) with EA agreement in progress
Anglian Water | KINGS LYNN-MILLFLEET SO3 OV | AW1NF1042/V001 | CSO | N/a | N/a | 2.25 | 4 | 65.1% | Operational issue being resolved, under further investigation
Anglian Water | KINGS LYNN-NAR LANE SP | AECTS543/10364 | CSO | N/a | N/a | 11.5 | 13 | 100%
Anglian Water | Kirby Main Maltings sp | ASENF3692/12395/V001 | CSO / EO | Walton Backwaters | N/a | 169.3 | 59 | 100%
Anglian Water | KIRTON-DRUNKARDS L STW | ASENF/938/12042/V001 | CSO | Deben | N/a | 16.9 | 2 | 100%
Anglian Water | KISLINGBURY SP | AWNNF13462/V001 | CSO | N/a | N/a | 25 | 16 | 90.37%
Anglian Water | LACEBY-CAISTOR ROAD #1 SSO | ANNNF2284/V001 | CSO | N/a | N/a | 105 | 49 | 99.47% | Proposed SOAF investigation (Storm Overflow Assesment Framework) with EA agreement
Anglian Water | LATCHINGDON STW | AW2NF/E17367/V001 | CSO | N/a | N/a | 964.75 | 94 | 98.09% | SOAF investigation (Storm Overflow Assesment Framework) with EA agreement in progress
Anglian Water | LAVENDON STW | AW1NF1012/V001 | CSO | N/a | N/a | 642.75 | 70 | 99.97% | Under investigation
Anglian Water | LEIGHTON BUZD-CHAINBRIDGE SP | AWCNF/11872/V001 | CSO | N/a | N/a | 79.25 | 6 | 100%
Anglian Water | LEIGHTON LINSLADE STW | AWCNF608/10415/V004 | CSO | N/a | N/a | 836.5 | 54 | 100%
Anglian Water | LEISTON - WATERLOO PARK(2) | EPR/NB3694EQ/V001 | CSO | N/a | N/a | 14 | 24 | 100%
Anglian Water | LEISTON-MAIN ST(1) | EPR/NB3694RC/V001 | CSO | N/a | N/a | 0.25 | 1 | 99.99%
Anglian Water | LEISTON-MAIN ST(2) | EPR/NB3694VV/V001 | CSO | N/a | N/a | 0.5 | 2 | 100%
Anglian Water | LEISTON-MAIN STREET(3) | EPR/NB3695AY/V001 | CSO | N/a | N/a | 2.5 | 6 | 99.99%
Anglian Water | LEISTON-VALLEY RD STW | ASENF1122/V002 | CSO | N/a | N/a | 0 | 0 | 100%
Anglian Water | LEISTON-VALLEY ROAD/CROWN STREET | EPR/NB3695EB/V001 | CSO | N/a | N/a | 1.75 | 4 | 99.99%
Anglian Water | LEISTON-VALLEY ROAD/CROWN STREET(2) | EPR/NB3695RN/V001 | CSO | N/a | N/a | 74 | 59 | 99.99% | Proposed SOAF investigation (Storm Overflow Assesment Framework) with EA agreement
Anglian Water | LEISTON-WATERLOO AVENUE (1) | EPR/NB3695WR/V001 | CSO | N/a | N/a | 4 | 14 | 99.99%
Anglian Water | LEISTON-WATERLOO AVENUE/PARK HILL(2) | EPR/NB3696AQ/V001 | CSO | N/a | N/a | 3 | 9 | 99.95%
Anglian Water | LEISTON-WATERLOOAVENUE/PARK HILL (1) | EPR/NB3696NC/V001 | CSO | N/a | N/a | 27 | 38 | 99.99%
Anglian Water | LETCHWORTH STW | AWCNF1123v003 | CSO | N/a | N/a | 0 | 0 | 100%
Anglian Water | LETCHWORTH-NORTON COMMON SSO | AW1NF805/V001 | CSO | N/a | N/a | 10.5 | 11 | 99.83%
Anglian Water | Lincoln - Brayford way SP | ANNNF3278/13386/V001 | CSO | N/a | N/a | 9.0667 | 8 | 100%
Anglian Water | LINTON STW | ASCNF/1125/V001 | CSO | N/a | N/a | 26.5 | 7 | 99.12%
Anglian Water | LITTLEPORT, PONT'S HILL | EPR/PB3392RM/V001 | CSO | N/a | N/a | 45.5 | 17 | 99.99%
Anglian Water | LITTLEPORT-FRIARS WY WIS RD | AECNF3106/11357/V001 | CSO | N/a | N/a | 2 | 6 | 100%
Anglian Water | LITTLEPORT-HOOF CLOSE SSO | AECNF3123/11305/V001 | CSO | N/a | N/a | 58.75 | 60 | 99.99%
Anglian Water | LITTLEPORT-WISBECH ROAD TPS | EPR/PB3392NP/V001 | CSO | N/a | N/a | 59 | 16 | 94.99%
Anglian Water | LODDON-KNAPPS BRIDGE SP | EPR/DP3728GJ/V004 | CSO | N/a | N/a | 14.75 | 6 | 100%
Anglian Water | LOUTH RAMSGATE ROAD MH749A FDT | EPR/GB3790RQ | CSO | N/a | N/a | 1.5 | 6 | 86.22% | Under investigation
Anglian Water | LOUTH SPAW LANE SSO | ANNNF3589v002 | CSO | N/a | N/a | 1446.75 | 136 | 99.83% | SOAF investigation (Storm Overflow Assesment Framework) with EA agreement in progress
Anglian Water | LOUTH STW | ANNNF1131/V001 | CSO | N/a | N/a | 103.5 | 32 | 99.97%
Anglian Water | LOUTH-BRACKENBOROUGH RD SSO | ANNNF3594/13592/V002 | CSO | N/a | N/a | 1 | 3 | 99.01%
Anglian Water | LOUTH-BRIDGE ST SSO | ANNNF3593/13591/V002 | CSO | N/a | N/a | 44.5 | 43 | 97.62%
Anglian Water | LOUTH-BROADBANK SSO | ANNNF3587/13585/V002 | CSO | N/a | N/a | 560.25 | 64 | 98.57% | Under investigation
Anglian Water | LOUTH-CHURCH LIGHTS SSO | ANNNF/3592/13590/V002 | CSO | N/a | N/a | 49.25 | 49 | 99.91%
Anglian Water | LOUTH-GRAYS ROAD SSO | ANNNF3583/13583/V002 | CSO | N/a | N/a | 110.25 | 51 | 92.17%
Anglian Water | LOUTH-GRIMSBY RD CISTERN SSO | ANNNF3588/13586/V002 | CSO | N/a | N/a | 3 | 7 | 97.3%
Anglian Water | LOUTH-JAMES ST SSO | ANNNF3590/13588/V002 | CSO | N/a | N/a | 16.75 | 35 | 94.75%
Anglian Water | LOUTH-KENWICK ROAD SSO | ANNNF/1763/V001 | CSO | N/a | N/a | 3.75 | 6 | 89.66% | Under investigation
Anglian Water | LOUTH-NEWBRIDGE HILL SSO | ANNNF3591/13589/V002 | CSO | N/a | N/a | 10.5 | 15 | 98.5%
Anglian Water | LOUTH-RAMSGATE SSO | ANNNF3585/13584/V002 | CSO | N/a | N/a | 14.5 | 30 | 99.96%
Anglian Water | Lowestoft - Belvedere Road Overflow | ASETS16995/V001 | CSO | N/a | Lowestoft North | 8.9 | 11 | 99.99%
Anglian Water | Lowestoft - Boulevard PS & CSO (AKA Oulton Broad-Holly RD TPS) | AW4TS1419/12088/V001 | CSO | N/a | N/a | 2.3333 | 18 | 99.86%
Anglian Water | Lowestoft - Bridge PS | ASETS2159A | CSO | N/a | Lowestoft North |  |  |  | NPS have not yet issued a CSO condition under TDC project
Anglian Water | Lowestoft - Marina CSO | ASETS4083/16991/V001 | CSO | N/a | Lowestoft North | 105.0333 | 83 | 99.92% | Catchment investigation underway
Anglian Water | Lowestoft - Royal Norfolk & Suffolk Yacht Club (Lowestoft Harbour Bridge SP) | AW4TS12090/V001 | CSO | N/a | Lowestoft North | 200.5667 | 109 | 99.84% | Catchment investigation underway
Anglian Water | Lowestoft - St John's Road CSO | ASETS4082/16950/V001 | CSO | N/a | Lowestoft North | 60.8667 | 117 | 100% | Catchment investigation underway
Anglian Water | Lowestoft - Station Square #1 CSO | ASETS4083/16993/V001 | CSO | N/a | Lowestoft North | 27.9333 | 27 | 95.93%
Anglian Water | Lowestoft - Station Square #2 & Commercial Rd CSO | EPR/JB3496WZ/V001 | CSO | N/a | Lowestoft North | 14.8 | 26 | 99.17%
Anglian Water | LOWESTOFT COMMERICAL RD | ASETS4083/16994/V002 | CSO | N/a | N/a | 125.2333 | 22 | 25.57% | Under investigation
Anglian Water | LOWESTOFT-ROTTERDAM RD #1 SO | EPR/LB3996NV/V001 | CSO | N/a | N/a | 35.2667 | 43 | 96.52%
Anglian Water | LOWESTOFT-ST PETER'S ST/YEOVIL RD | EPR/MB3495DR/V001 | CSO | N/a | N/a | 0.5 | 2 | 99.9%
Anglian Water | LUDHAM-WOMACK STAITHE TPS | AEENF/91910/10202/V001 | CSO | N/a | N/a | 0 | 0 | 100%
Anglian Water | Mablethorpe - George St CSO | ANNNF/892/V001 | CSO | N/a | Mablethorpe Town | 6.8 | 11 | 99.95%
Anglian Water | MABLETHORPE STW | ANNNF3078/13149/V001 | CSO | N/a | N/a | 186.5 | 24 | 100%
Anglian Water | MABLETHORPE STW | ANNNF3078/13149/V001_ST10 | CSO | N/a | N/a | 0 | 0 | 100%
Anglian Water | MABLETHORPE STW | ANNNF3078/13149/V001_ST9 | CSO | N/a | N/a | 0 | 0 | 100%
Anglian Water | Maidenhall Storm outfall | AW4TS1429/V001 | CSO | N/a | N/a | 16.3 | 17 | 100%
Anglian Water | Maldon - Park Drive | AW2NFE03278/V001 | CSO | N/a | N/a | 141.9333 | 23 | 96.51%
Anglian Water | Maldon STW | ASENF1136/V001 | CSO | Osea Island | N/a | 1488.1667 | 86 | 100% | Proposed SOAF investigation (Storm Overflow Assesment Framework) with EA agreement
Anglian Water | MANTHORPE-MILL SP | ANNNF851/13024/V002_Outlet 1 | CSO | N/a | N/a | 97.75 | 8 | 100%
Anglian Water | MARCH-CREEK RD/ST JOHNS RD OV | AECNF3511/11501/V001 | CSO | N/a | N/a | 98.5 | 21 | 97.34%
Anglian Water | MARCH-DARTFORD/ELLIOTT RD OV | AECNF3512/11502/V001 | CSO | N/a | N/a | 73 | 18 | 99.82%
Anglian Water | MARCH-ELLIOT RD OV | AW1NF3189/V001 | CSO | N/a | N/a | 37.5 | 6 | 99.71%
Anglian Water | MARCH-ELWYN RD/EL CT OV | AECNF3513/11503/V001 | CSO | N/a | N/a | 80.5 | 18 | 99.98%
Anglian Water | MARCH-WINDSOR DRIVE OV | AECNF3514/11568/V001 | CSO | N/a | N/a | 627.5 | 50 | 99.14%
Anglian Water | MARKET HARBOROUGH-RIVERSIDESSO | AW5NF1798/V001 | CSO | N/a | N/a | 297.25 | 18 | 100%
Anglian Water | MARKET RASEN-CAISTOR ROAD OV | ANNNF3266/13383/V001 | CSO | N/a | N/a | 12 | 11 | 92.99%
Anglian Water | MARTLESHAM M BRIDGE SP | ASENF2160/V002 | CSO / EO | Deben | N/a | 0 | 0 | 99.2%
Anglian Water | MAYLANDSEA STW | ASETS/10531/V001 | CSO | N/a | N/a | 472.5 | 50 | 77.74% | Changed to alternative monitor type, now resolved
Anglian Water | MELBOURN STW | AW1NF934/V001 | CSO | N/a | N/a | 92.75 | 62 | 100% | Operational issue being resolved, under further investigation
Anglian Water | MELTON CONSTABLE-BURGH BECK SP | AEENF3883/12431/V001 | CSO | N/a | N/a | 28.25 | 5 | 100%
Anglian Water | MILDENHALL STW | ASCNF11025/V003 | CSO | N/a | N/a | 0 | 0 | 100%
Anglian Water | Mundesley - The Dell Chalet Park | AEENF791/10515/V001 | CSO | N/a | Mundesley | 3.3 | 14 | 99.99%
Anglian Water | MUNDESLEY-KNAPTON RD OUTFALL | AEECS3731/12411/V001 | CSO | N/a | N/a | 64 | 23 | 100%
Anglian Water | MUNDESLEY-THE PROMENADE SP | AEECS3350/12196/V001 | CSO | N/a | Mundesley | 3.8 | 2 | 91.79%
Anglian Water | MUNDFORD STW | AECNF/2080/V002 | CSO | N/a | N/a | 298.5 | 39 | 99.57%
Anglian Water | NASSINGTON STW | AW5NF141/V001 | CSO | N/a | N/a | 0 | 0 | 57.67% | Changed to alternative monitor type, now resolved
Anglian Water | NASSINGTON TPS | AWNNF3725/13572/V001 | CSO | N/a | N/a | 110.25 | 13 | 100%
Anglian Water | NEWNHAM STW (NORTHANTS) | AW5NF/400/V002 | CSO | N/a | N/a | 2859.75 | 149 | 100% | SOAF investigation (Storm Overflow Assesment Framework) with EA agreement in progress
Anglian Water | NEWPORT PAGNELL-WILLEN RD TPS | AW1NF3235/V001 | CSO | N/a | N/a | 7.75 | 1 | 100%
Anglian Water | NEWTON FLOTMAN-MAIDS HEAD TPS | AEENF796/12009/V001 | CSO | N/a | N/a | 70.5 | 20 | 100%
Anglian Water | NEWTON LONGVILLE-WHADDON RD SP | AWCNF3755/1310/V001 | CSO | N/a | N/a | 215 | 40 | 100%
Anglian Water | NORMANBY-PARK SP | ANNNF3482/13442/V001 | CSO | N/a | N/a | 11.75 | 6 | 100%
Anglian Water | NORTH COTES STW | ANNNF1298/V001 | CSO | N/a | N/a | 17 | 7 | 100%
Anglian Water | NORTH THORESBY STW | ANNNF180/10292/V001 | CSO | N/a | N/a | 64.5 | 12 | 100%
Anglian Water | NORTH WALSHAM-BLUEBELL RD OV | AEENF3132/12104/V001 | CSO | N/a | N/a | 8 | 4 | 100%
Anglian Water | Northampton - Becketts Park SSO | AW5NF1832/V001 | CSO | N/a | N/a | 57.9333 | 42 | 100%
Anglian Water | NORTHAMPTON ABINGTON TANK SSO | AWNNF3566/13522/V002 | CSO | N/a | N/a | 20.8 | 5 | 99.99%
Anglian Water | Northampton Bedford Rd PS (storm & EO) | AW5NF1778/V001 | CSO | N/a | N/a | 0 | 0 | 100%
Anglian Water | NORTHAMPTON-BEDFORD ROAD SSO | EPR/JB3297WF/V001a | CSO | N/a | N/a | 4.4 | 12 | 100%
Anglian Water | NORTHAMPTON-BRIDGE ST OV | EPR/JB3297NS/V001 | CSO | N/a | N/a | 36.9 | 39 | 100%
Anglian Water | NORTHAMPTON-DUSTON SYCAMORESSO | AW5NF384/V002 | CSO | N/a | N/a | 130.8 | 111 | 100% | SOAF investigation (Storm Overflow Assesment Framework) with EA agreement in progress
Anglian Water | NORTHAMPTON-LOWER HESTER ST OV | EPR/JB3297AZ/V001 | CSO | N/a | N/a | 18.3667 | 14 | 99.98%
Anglian Water | NORTHAMPTON-MALCOLM DRIVE SSO | AW5NF352/V001 | CSO | N/a | N/a | 44.5 | 13 | 99.92%
Anglian Water | NORTHAMPTON-MH 15, DUSTON | EPR/JB3296RM/V001 | CSO | N/a | N/a | 0.96667 | 8 | 99.99%
Anglian Water | NORTHAMPTON-MILL LANE SSO | EPR/JB3297EW/V001 | CSO | N/a | N/a | 0.033333 | 1 | 100%
Anglian Water | NORTHAMPTON-SPENCER BRIDGE R | EPR/JB3296WT/V001 | CSO | N/a | N/a | 69.6 | 46 | 100%
Anglian Water | NORTHAMPTON-SWAN ST SSO | EPRJB3297VH/V001 | CSO | N/a | N/a | 0.8 | 6 | 100%
Anglian Water | NORTHAMPTON-VICTORIA GARDENS | EPR/JB3297RX/V001 | CSO | N/a | N/a | 5.8333 | 33 | 100%
Anglian Water | NORTHILL-ICKWELL ROAD SP | AW1NF368/V001 | CSO | N/a | N/a | 270.75 | 25 | 100%
Anglian Water | NORWICH - BISHOPBRIDGE ROAD | EPR/NB3591EE/V001 | CSO | N/a | N/a | 5710.25 | 248 | 100% | Catchment investigation underway
Anglian Water | NORWICH - CHALK HILL RD | EPR/NB3591RM/V001 | CSO | N/a | N/a | 884.75 | 44 | 100%
Anglian Water | Norwich - Cow Tower CSO | AEETF 3260/12149/V001 | CSO | N/a | N/a | 13.6333 | 10 | 99.98%
Anglian Water | NORWICH - KETTS HILL | EPR/NB3591AF/V001 | CSO | N/a | N/a | 4.25 | 7 | 99.9%
Anglian Water | NORWICH - RIVER LANE | EPR/NB3590WG/V001 | CSO | N/a | N/a | 0.5 | 2 | 97.46%
Anglian Water | NORWICH - ROSARY ROAD | EPR/NB3591NP/V001 | CSO | N/a | N/a | 0 | 0 | 99.94%
Anglian Water | NORWICH - TURNING BASIN | AW4TF777X/V003 | CSO | N/a | N/a | 91.5 | 56 | 99.96%
Anglian Water | NORWICH ANGEL ROAD MM MH7301 | EPR/EB3297AK | CSO | N/a | N/a | 0 | 0 | 0% | Under investigation
Anglian Water | NORWICH CARROW ROAD MM MH2811 | EPR/EB3296AX | CSO | N/a | N/a | 49.4667 | 43 | 100%
Anglian Water | NORWICH CEDAR ROAD MM MH4010 | EPR/EB3296EH | CSO | N/a | N/a | 16.5333 | 33 | 94.34%
Anglian Water | NORWICH FAITHS LANE MM MH5703 | EPR/GB3293VQ | CSO | N/a | N/a | 85.4 | 31 | 35.04% | Operational issue now resolved
Anglian Water | Norwich Lower Close (Ferry Lane) | EPR/GB3293WP | CSO | N/a | N/a | 0.66667 | 3 | 99.77%
Anglian Water | NORWICH RIVERSIDE ROAD MM MH0902 | EPR/EB3296RQ | CSO | N/a | N/a | 1241.4333 | 256 | 100% | Catchment investigation underway
Anglian Water | NORWICH SANDY LANE MM MH1902 | EPR/EB3296WM | CSO | N/a | N/a | 4103.1333 | 224 | 76.75% | Catchment investigation underway
Anglian Water | NORWICH, BRACONDALE CSO | EPR/HB3693DN/V001 | CSO | N/a | N/a | 159 | 18 | 100%
Anglian Water | Norwich, School Lane/Bedford Street | EPR/EB3296NR | CSO | N/a | N/a | 0 | 0 | 100%
Anglian Water | NORWICH-BARRACK STREET SSO | EPR/MB3699EK/V001 | CSO | N/a | N/a | 1 | 4 | 100%
Anglian Water | NORWICH-ELM HILL SSO | EPR/MB3699DG/V001 | CSO | N/a | N/a | 4081 | 172 | 100% | Changed to alternative monitor type, now resolved
Anglian Water | NORWICH-GIBRALTAR GARDENS CSO | AEENF3467/12369/V001 | CSO | N/a | N/a | 316.25 | 34 | 90.08%
Anglian Water | NORWICH-KING STREET SSO #2 | EPR/MB3699WS/V001 | CSO | N/a | N/a | 22.75 | 15 | 99.87%
Anglian Water | NORWICH-NEW MILLS SSO | EPR/MB3699AM/V001 | CSO | N/a | N/a | 0.5 | 2 | 99.86%
Anglian Water | NORWICH-PEACOCK STREET SSO | EPR/MB3699RY/V001 | CSO | N/a | N/a | 3697 | 156 | 100% | Catchment investigation underway
Anglian Water | NORWICH-PRINCE OF WALES ROAD MH5501 FDT | EPR/GB3598AA | CSO | N/a | N/a | 32.8333 | 33 | 98.14%
Anglian Water | OAKHAM STW | AW5NF/5211/V003_CSO | CSO | N/a | N/a | 391.5 | 71 | 99.99% | SOAF investigation (Storm Overflow Assesment Framework) with EA agreement in progress
Anglian Water | OAKHAM STW | AW5NF/5211/V003_SSO | CSO | N/a | N/a | 0 | 0 | 100% | SOAF investigation (Storm Overflow Assesment Framework) with EA agreement in progress
Anglian Water | ODELL STW | AW1NF1081/V003 | CSO | N/a | N/a | 4193.25 | 185 | 100% | Under investigation
Anglian Water | Oundle - Barnwell Rd TPS | AWNNF2127/V002 | CSO | N/a | N/a | 21.5333 | 7 | 100%
Anglian Water | Oundle - East Rd CSO | EPR/LB3592AF/V001 | CSO | N/a | N/a | 2.4 | 13 | 100%
Anglian Water | Oundle - New Rd TPS | AWNNF2492/V001 | CSO | N/a | N/a | 51.1333 | 15 | 100%
Anglian Water | Oundle STW SSO | AW5NF809/V002 | CSO | N/a | N/a | 423.6333 | 53 | 100%
Anglian Water | Paglesham East TPS | ASENF2520A | CSO / EO | Upper Roach | N/a |  |  |  | NPS have not yet issued a CSO condition under TDC project
Anglian Water | PAGLESHAM-CHURCH END SP | ASENF454/10351/V001 | CSO | N/a | N/a | 82.75 | 16 | 100%
Anglian Water | PAGLESHAM-WEST TPS | ASENF455/10352/V001 | CSO | N/a | N/a | 107.75 | 12 | 100%
Anglian Water | Peldon - SPS at Mersea Road AKA PELDON-ROSE COTTAGE SP | AW2NFE05472/V001 | EO | Strood Channel | N/a | 9.3 | 12 | 98.79%
Anglian Water | PETBORO-ORTON MERE SP | AW5NF567/V001 | CSO | N/a | N/a | 27.5 | 3 | 100%
Anglian Water | PETBORO-WERRTON LINCOLN RD SSO | AW5NF1818/V001 | CSO | N/a | N/a | 13.75 | 4 | 100%
Anglian Water | Peterborough - River Lane SSO | AW5NF/1794/V001 | CSO | N/a | N/a | 13.3333 | 28 | 99.76%
Anglian Water | Peterborough - North Minster (PETERBOROUGH-NEW RD/ST J RD CS) | AW/5/NF/620/V001 | CSO | N/a | N/a | 16.4 | 4 | 100%
Anglian Water | Peterborough - Oundle Rd SSO | AW5NF/1793/V001 | CSO | N/a | N/a | 245.2 | 34 | 100%
Anglian Water | PETERBOROUGH (FLAG FEN) STW | AW5NF5178_3DWF | CSO | N/a | N/a | 1135.75 | 127 | 100% | Scheme in place to address high flows
Anglian Water | PETERBOROUGH (FLAG FEN) STW | AW5NF5178_6DWF | CSO | N/a | N/a | 1492 | 87 | 100% | Scheme in place to address high flows
Anglian Water | PIRTON TPS | AWENF2531/V002 | CSO | N/a | N/a | 94 | 23 | 100%
Anglian Water | PIRTON TPS | EPR/RB3894EG | CSO | N/a | N/a | 0 | 0 | 100%
Anglian Water | PITSEA STW | CSSC.4457/V001 | CSO | N/a | N/a | 66.5 | 28 | 100%
Anglian Water | POPPYHILL STW | AW1NF2418/V003 | CSO | N/a | N/a | 198.5 | 18 | 100%
Anglian Water | Prittle Brook Storage Tank | S/WR76/V001 | CSO | Foulness | N/a | 6.4 | 4 | 99.86%
Anglian Water | Promenade Sewer Storage Tank, Overstrand, Norfolk | AEECS990/12053/V001 | CSO | N/a | N/a | 34.75 | 16 | 99.99%
Anglian Water | Ramsey Island - St Lawrence Drive PS | ASENF/3982/16188/V001 | CSO / EO | Osea Island/Blackwater | N/a | 0.1 | 3 | 100%
Anglian Water | Rochford - Depot sp (storm tanks) | AW2NFE15272/V002 | CSO | Upper Roach | n/a | 7.9 | 9 | 99.73%
Anglian Water | Rochford - Depot sp (storm tanks) | AW2NFE15272/V002 | EO | Upper Roach | N/a | 39.7 | 8 | 100%
Anglian Water | Rowhedge - High Street PS | AW2NFE06884v001 | CSO / EO | Colne | N/a | 0.033333 | 1 | 100%
Anglian Water | S BENFLEET-HALL FARM RD SP | EPR/NB3199DJ/V001 | CSO | N/a | N/a | 42 | 38 | 100%
Anglian Water | SAFFRON WALDEN STW | ASCNF1184v001 | CSO | N/a | N/a | 7.75 | 5 | 100%
Anglian Water | SAFFRON WALDEN-VICTORIA THX OV | EPR/NB3691VH | CSO | N/a | N/a | 1 | 3 | 98.3%
Anglian Water | SANDY-GIRTFORD SSO | AWCNF1630/V003 | CSO | N/a | N/a | 28 | 25 | 99.9%
Anglian Water | SANDY-HIGH STREET SSO | AWCNF1684/V003 | CSO | N/a | N/a | 11.75 | 29 | 100% | Proposed SOAF investigation (Storm Overflow Assesment Framework) with EA agreement
Anglian Water | SAXILBY-HIGH ST/MANOR RD SSO | AW3NF838/V001 | CSO | N/a | N/a | 31.25 | 16 | 99.99%
Anglian Water | SAXILBY-HIGH ST/WEST BANK SSO | AW3NF837/V001 | CSO | N/a | N/a | 2 | 1 | 99.96%
Anglian Water | SCAWBY SEWER SSO | AW3NFF795/V001 | CSO | N/a | N/a | 1.25 | 3 | 100%
Anglian Water | Sea Palling - Clink Road SPS | AW4NF894X/V001 | CSO | N/a | Sea Palling | 51.9333 | 14 | 100%
Anglian Water | Sea Palling - Waxham Road SPS | AW4NF895X/V001 | CSO | N/a | Sea Palling | 52.2667 | 6 | 100%
Anglian Water | Sheringham East Beach Sewage Tank (AKA SHERINGHAM BEACH RD TPS) | AEECS867/12070/V001 | CSO | N/a | Sherringham | 4.3 | 4 | 99.99%
Anglian Water | SIBLE HEDINGHAM-ALDERFORD ST | AW2NFE36066/V002 | CSO | N/a | N/a | 24.75 | 11 | 96.65%
Anglian Water | SILVERSTONE STW | AWCNF1191/V002 | CSO | N/a | N/a | 1760.25 | 94 | 100% | SOAF investigation (Storm Overflow Assesment Framework) with EA agreement in progress
Anglian Water | SKELLINGTHORPE, LINCOLN RD CSO | ANNNF3543/13437/V001 | CSO | N/a | N/a | 4 | 2 | 100%
Anglian Water | SOHAM STW | AECNF1195v004 | CSO | N/a | N/a | 467.25 | 34 | 100%
Anglian Water | SOHAM-CHERRY TREE SP | AECNF3534/11498/V005 | CSO | N/a | N/a | 9.25 | 2 | 96.34%
Anglian Water | Southend - Burdett Rd CSO | S/WR86/V001 | CSO | Foulness | N/a | 5.4333 | 6 | 99.98%
Anglian Water | Southend - Manilla Rd | S/WR87/V001 | CSO | Foulness | N/a | 55 | 11 | 99.98%
Anglian Water | Southend - Towerfield INT SP | AW2NFE12684/V001 | EO | Foulness | N/a | 13.4 | 6 | 100%
Anglian Water | SOUTHEND-EASTWOOD PK SOUTH SSO | AW2NFE/03958/V001 | CSO | N/a | N/a | 0.5 | 2 | 66.1% | Under investigation
Anglian Water | SOUTHEND-LEIGH BF CSO (AKA Southend Belton Gardens PS TK OV) | S/WR73/V001 | CSO | N/a | N/a | 36.5 | 6 | 99.94%
Anglian Water | SOUTHEND-PRIORY CRESCENT SSO | AW2NFE05183/V001 | CSO | N/a | N/a | 1 | 1 | 99.81%
Anglian Water | SOUTHEND-ROCHFORD RD SSO | AW2NFE05483/V001 | CSO | N/a | N/a | 14.75 | 6 | 99.98%
Anglian Water | SOUTHEND-VICTORIA AVE SSO (Southend - Bell PH_Prince Avenue - SOPNFT) | AW2NFE17964/V001 | CSO | N/a | N/a | 31 | 12 | 98.86%
Anglian Water | SOUTHEND-VICTORIA W'F TANK CSO | S/WR74/V001 | CSO | N/a | N/a | 0.25 | 1 | 99.55%
Anglian Water | Southwold - South Green SPS (southwold - ferry rd) | AW4TS757X/V001 | CSO | N/a | Southwold the Deans | 0.36667 | 1 | 100%
Anglian Water | Southwold - Gardener Road PS | ASENF91767/10176/V001 | CSO | N/a | Southwold the Deans | 7.2333 | 36 | 98.35%
Anglian Water | Southwold - Marlborough Rd SSO | AW4NF1768v001 | CSO | N/a | Southwold the Pier | 0.26667 | 7 | 99.96%
Anglian Water | Southwold - Station Rd SSO | AW4NF1762/V001 | CSO | N/a | Southwold the Pier | 4.9667 | 38 | 99.92%
Anglian Water | Southwold STW Inlet Pumping Station EO | ASETS/10380/V002/1 | CSO | N/a | N/a | 0 | 0 | 100%
Anglian Water | Southwold STW Settled Storm | ASETS/10380/V002/2 | CSO | N/a | N/a | 85.5667 | 14 | 98.43%
Anglian Water | SPALDING-ALBION STREET SP | AW5NF665/V001 | CSO | N/a | N/a | 0 | 0 | 99.96%
Anglian Water | St Ives - Priory Rd | AWCNF2542/V002 | CSO | N/a | N/a | 189.8667 | 49 | 100%
Anglian Water | St Ives - The Quay | AWCNF2663/V002 | CSO | N/a | N/a | 296.9333 | 21 | 100%
Anglian Water | St Ives - The Waits | AWCNF2669/V002 | CSO | N/a | N/a | 288.6667 | 26 | 100%
Anglian Water | St Neots - Market Square STO | AW1NF/2577/V001 | CSO | N/a | N/a | 37.5333 | 27 | 100%
Anglian Water | St Osyth - Point Clear Rd | AW2NFE01182/V001 | CSO | Colne | N/a | 18.3333 | 4 | 99.64%
Anglian Water | St Osyth Mill Dam PS | AW2TSE06363v001 | EO | Colne | N/a | 0 | 0 | 99.99%
Anglian Water | STAMFORD-HUDDS MILL TPS | AW5NF1780/V001 | CSO | N/a | N/a | 4.5 | 3 | 100%
Anglian Water | STIBBINGTON STW | AW5NF315A/V001 | CSO | N/a | N/a | 768.25 | 38 | 100%
Anglian Water | Sudbury - Bailey and Coates | ASENF1728/V002 | CSO | N/a | N/a | 20.9 | 24 | 100%
Anglian Water | Sudbury - Gt Eastern Rd | ASENF3753v001 | CSO | N/a | N/a | 21.5 | 13 | 100%
Anglian Water | Sudbury - The Croft | ASENF1729/V002 | CSO | N/a | N/a | 6.4333 | 26 | 95.66%
Anglian Water | Sudbury STW - settled storm | ASENF1314/V004 | CSO | N/a | N/a | 0 | 0 | 100%
Anglian Water | Sudbury STW - settled storm | ASENF1314/V004_ST2 | CSO | N/a | N/a | 0 | 0 | 100%
Anglian Water | SWAFFHAM STW | AW1NF/1077/V001 | CSO | N/a | N/a | 105.75 | 48 | 100%
Anglian Water | SWANBOURNE STW | AWCNF644/11010/V001 | CSO | N/a | N/a | 1444.25 | 86 | 100% | Under investigation
Anglian Water | SYWELL SP | AW5NF1772/V001 | CSO | N/a | N/a | 172.5 | 31 | 100%
Anglian Water | TETNEY-NEWTON MARSH STW | ANNTS13007/V001 | CSO | N/a | N/a | 34.0667 | 31 | 100%
Anglian Water | Thrapston SPS | AW5NF1570/V001 | CSO | N/a | N/a | 43.4333 | 7 | 100%
Anglian Water | Tollesbury STW SSO | ASETS1229/V002 | CSO | Tollesbury Channel | N/a | 1201.5 | 68 | 100% | Under investigation
Anglian Water | TOWCESTER STW | AW1NF63/V003 | CSO | N/a | N/a | 455 | 42 | 100% | SOAF investigation (Storm Overflow Assesment Framework) with EA agreement in progress
Anglian Water | TOWCESTER TPS | AW1NF1178/V001 | CSO | N/a | N/a | 0 | 0 | 100%
Anglian Water | Trowse PS | EPR/HB3693AF/V001 | CSO | N/a | N/a | 55.8333 | 13 | 100%
Anglian Water | Walton-on-the-Naze TPS | ASECS3376/12213/V001 | CSO | N/a | Walton | 159.1667 | 62 | 97.15% | Changed to alternative monitor type, now resolved
Anglian Water | WATTON-SWAFFHAM ROAD TPS | AECNF11906/V001 | CSO | N/a | N/a | 64.5 | 26 | 100%
Anglian Water | WELLINGBOROUGH - HATTON PARK CSO#2 | AWNNF4113/13852/V002 | CSO | N/a | N/a | 49.75 | 10 | 99.46%
Anglian Water | WELLINGBOROUGH-CHESTER ROAD | AW5NF1805/V001 | CSO | N/a | N/a | 4.5 | 6 | 99.99%
Anglian Water | WELLINGBOROUGH-MARKET ST SSO (old Cattle Market- Q810OV) | AW5NF1804/V001 | CSO | N/a | N/a | 0.25 | 1 | 99.18%
Anglian Water | West Mersea - Whittaker Way SPS | AW2NFE08984/V001 | EO | Strood Channel/Blackwater | N/a | 0.16667 | 2 | 100%
Anglian Water | West Mersea STW SSO | ASETS/1320/V005 | CSO | N/a | West Mersea | 9.4 | 14 | 97.16%
Anglian Water | West Runton - Water Lane PS | AEECS12198/V001 | CSO | N/a | N/a | 70.4333 | 30 | 97.78%
Anglian Water | WHADDON STW | AWCNF11058/V002 | CSO | N/a | N/a | 2767.75 | 158 | 100% | SOAF investigation (Storm Overflow Assesment Framework) with EA agreement in progress
Anglian Water | Whitlingham STW - settled storm | AW4TF1789/V002 | CSO | N/a | N/a | 532.3667 | 52 | 100% | Proposed SOAF investigation (Storm Overflow Assesment Framework) with EA agreement
Anglian Water | WICKHAM MARKET STW | ASENF813/10537/V001 | CSO | N/a | N/a | 1066.75 | 58 | 100%
Anglian Water | WINTERINGHAM-STATION FARM SSO | ANNNF3147/13332 | CSO | N/a | N/a | 150.75 | 54 | 100% | SOAF investigation (Storm Overflow Assesment Framework) with EA agreement in progress
Anglian Water | WOLVERTON RAIL FREIGHT MD SSO | AW1NF/121/V001 | CSO | N/a | N/a | 4.75 | 11 | 100%
Anglian Water | Woodbridge - Quayside SPS | ASETS/4030/1403/V001 | CSO | Deben | N/a | 3.6333 | 10 | 100%
Anglian Water | Woodbridge - Station road | ASETS/16180/V001 | CSO | Deben | N/a | 9.6 | 8 | 100%
Anglian Water | Woodbridge Creek FM STW | ASETS/1250/V002 | CSO | Deben | N/a | 0 | 0 | 100%
Anglian Water | Woodbridge Deben Rd OV | AW4TS1417/V001 | CSO | Deben | N/a | 17.6667 | 40 | 98.52%
Anglian Water | AKELEY (EX STW) SP | AWCNF417/10279/V001 | CSO | N/a | N/a | 141 | 18 | 100%
Anglian Water | ARTHINGWORTH TPS | AWNNF13783/V001 | CSO | N/a | N/a | 635.25 | 49 | 100% | Under investigation
Anglian Water | ASHWELL STW | AW1NF2723v002 | CSO | N/a | N/a | 2 | 2 | 100%
Anglian Water | ATTLEBOROUGH STW | AECNF/1004/V003 | CSO | N/a | N/a | 13.75 | 6 | 100%
Anglian Water | BALSHAM STW | ASCNF2051/V001 | CSO | N/a | N/a | 120.25 | 16 | 100%
Anglian Water | BARLEY STW | AW1NF1250/V002 | CSO | N/a | N/a | 11 | 15 | 99.98%
Anglian Water | BARNETBY-FERNERY LA TPS | AW3NFF763/V001 | CSO | N/a | N/a | 0.25 | 1 | 99.99%
Anglian Water | BARNHAM BROOME-MILL ROAD SM | AEENF2470/V001 | CSO | N/a | N/a | 334.5 | 24 | 100%
Anglian Water | BARNWELL TPS | AWNNF2128A | CSO | N/a | N/a |  |  |  | NPS have not yet issued a CSO condition under TDC project
Anglian Water | BARROW STW | ASCNF10281v001 | CSO | N/a | N/a | 640 | 36 | 100%
Anglian Water | BARTON-FLEETGATE TPS | AW3TS307/V002 | CSO | N/a | N/a | 34.5 | 33 | 100%
Anglian Water | BECCLES-CAXTON SPTS GRND OV | ASENF91783/10090/V001 | CSO | N/a | N/a | 5 | 1 | 100%
Anglian Water | BEDFIELD-CROWN LA SP | ASENF/19720/V001 | CSO | N/a | N/a | 0 | 0 | 100%
Anglian Water | BENEFIELD STW | AW5NF5217B | CSO | N/a | N/a | 239.25 | 137 | 99.94% | Operational issue under investigation
Anglian Water | BLACKMORE-THE GREEN SP | AW2NFE01178/V001 | CSO | N/a | N/a | 69.75 | 12 | 100%
Anglian Water | BLAKESLEY TPS | AW1NF1057/V001 | CSO | N/a | N/a | 0 | 0 | 11.82% | Under investigation
Anglian Water | BOCKING-BRADFORD BRG (NEW) TPS | AW2NFE08765 | CSO | N/a | N/a | 0 | 0 | 100%
Anglian Water | BOXFORD STW | ASENF/1023/V002 | CSO | N/a | N/a | 215.75 | 16 | 100%
Anglian Water | BOZEAT STW | AW5NF421E | CSO | N/a | N/a | 0 | 0 | 100%
Anglian Water | BRACKLEY (EX STW SITE) TPS | AWCNF537/10460/V001 | CSO | N/a | N/a | 41.75 | 19 | 100%
Anglian Water | BRACKLEY STW (NEW) | AWCNF10455/V003 | CSO | N/a | N/a | 148.75 | 16 | 100%
Anglian Water | BRACKLEY-BRIDGE ST SSO | AW1NF1017 | CSO | N/a | N/a | 0 | 0 | 100%
Anglian Water | BRIGG-SUNNINGDALE AV TPS | ANNNF3561/13486/V001 | CSO | N/a | N/a | 0 | 0 | 100%
Anglian Water | BURTON LATIMER-HIGHAM ROAD SSO | AW5NF1825/V001 | CSO | N/a | N/a | 39 | 26 | 100%
Anglian Water | BURWELL STW | AW1NF1016 | CSO | N/a | N/a | 0.5 | 2 | 100%
Anglian Water | CANVEY-CHAMPLAIN AVE SP | ASETS2195/V003 | CSO | N/a | N/a | 1.25 | 1 | 100%
Anglian Water | CANVEY-HIGH ST SP | AW2NFE12084/V001 | CSO | N/a | N/a | 82.5 | 8 | 100%
Anglian Water | CAPEL ST MARY-PARKINS CL YD SP | ASENF2525/V003 | CSO | N/a | N/a | 0 | 0 | 100%
Anglian Water | CASTLE HEDINGHAM-QUEEN ST OV | EPR/NB3993AQ/V001 | CSO | N/a | N/a | 8.75 | 2 | 99.99%
Anglian Water | CATWORTH-HOSTEL STW | AWCNF10528C | CSO | N/a | N/a | 144.5 | 18 | 100%
Anglian Water | CHAPEL TPS | AECNF3114/11098/V001 | CSO | N/a | N/a | 0 | 0 | 85.17% | Under investigation
Anglian Water | CHATTERIS-HUNTINGDON RD OV | AECNF/10512/V003 | CSO | N/a | N/a | 0 | 0 | 100%
Anglian Water | CHEDBURGH STW | ASCNF1041v001 | CSO | N/a | N/a | 0.25 | 1 | 100%
Anglian Water | CHELSWORTH-CAKEBRIDGE LA SP | AW2NFE17472/V001 | CSO | N/a | N/a | 72.75 | 6 | 100%
Anglian Water | CHELVESTON-WATER LANE SP | AWNNF2203/V003 | CSO | N/a | N/a | 184 | 20 | 100%
Anglian Water | CHIPPENHAM STW | AW1NF482/V001 | CSO | N/a | N/a | 35.75 | 9 | 100%
Anglian Water | CLAYDON- IPSWICH RD | ASENF3466/12265/V001 | CSO | N/a | N/a | 0.02 | 1 | 93.67%
Anglian Water | CLAYPOLE-WELFEN LA TPS | ANNNF3251/13391/V001 | CSO | N/a | N/a | 13.75 | 5 | 100%
Anglian Water | CLIPSTON TPS | AWNNF1269/1 | CSO | N/a | N/a | 104.25 | 15 | 100%
Anglian Water | CODDENHAM-BLACKSMITHS LA TPS | ASENF2147/V003 | CSO | N/a | N/a | 17.75 | 5 | 100%
Anglian Water | COLCHESTER-BOURNE MILL OV | ASENF1720/V003 | CSO | N/a | N/a | 0 | 0 | 100%
Anglian Water | COLCHESTER-EAST BR (EAST)OV | ASETS1736/V003 | CSO | N/a | N/a | 53.75 | 143 | 92.92% | Possible SOAF investigation (Storm Overflow Assesment Framework) with EA agreement
Anglian Water | COLCHESTER-SHEARWATER MEWS OV | ASENF4129/19250/V001 | CSO | N/a | N/a | 0 | 0 | 95.06%
Anglian Water | COLD ASHBY SSO | AWNNF4191/13917/V001 | CSO | N/a | N/a | 4.75 | 10 | 100%
Anglian Water | CONINGTON-FEN DRAYTON RD SP | ASCNF43/10386/V001 | CSO | N/a | N/a | 128 | 6 | 100%
Anglian Water | COTTESMORE STW | AW5NF299D | CSO | N/a | N/a | 200.5 | 11 | 100%
Anglian Water | COVENEY STW | AW1NF458 | CSO | N/a | N/a | 56 | 26 | 99.99%
Anglian Water | COVENEY-SCHOOL LANE SP | AECNF766/11067/V001 | CSO | N/a | N/a | 0 | 0 | 100%
Anglian Water | CRANSLEY (EXSTW) PS | AWNNF3689/13598/V001 | CSO | N/a | N/a | 50.25 | 4 | 100%
Anglian Water | DEEPINGS STW | ANNNF13012/V003 | CSO | N/a | N/a | 87.75 | 12 | 100%
Anglian Water | DICKLEBURGH-RECTORY RD STW | AEENF2055v001 | CSO | N/a | N/a | 0 | 0 | 100%
Anglian Water | DISS-MOUNT ST OV | AW4NF929X/1 | CSO | N/a | N/a | 455 | 158 | 99.99% | Catchment investigation underway
Anglian Water | DOWNHAM MARKET-THE HYTHE SP | AECNF10447/V001 | CSO | N/a | N/a | 54 | 24 | 100%
Anglian Water | DULLINGHAM STW | AECNF10273v001 | CSO | N/a | N/a | 139.25 | 28 | 100%
Anglian Water | DUNHOLME STW | ANNNF10274v001 | CSO | N/a | N/a | 78 | 13 | 100%
Anglian Water | E HANNINGFIELD-OLD CHRCH RD SP | AW2NFE03174/V001 | CSO | N/a | N/a | 46.25 | 8 | 100%
Anglian Water | EAGLE SP | ANNNF3425/13427/V001 | CSO | N/a | N/a | 2.5 | 1 | 100%
Anglian Water | EARLS COLNE-CHURCH HILL #1 OV | AW2NFE/03265/V001 | CSO | N/a | N/a | 0 | 0 | 100%
Anglian Water | EARLS COLNE-CHURCH HILL #3 OV | ASENF/16138/V001 | CSO | N/a | N/a | 0 | 0 | 100%
Anglian Water | EARLS COLNE-COLCHESTER RD TPS | ASENF487/10322/V001 | CSO | N/a | N/a | 1 | 1 | 99.66%
Anglian Water | EAST HARLING STW | AECNF1062F/1 | CSO | N/a | N/a | 123.5 | 12 | 100%
Anglian Water | EASTON MAUDIT STW | AWNNF328013532v | CSO | N/a | N/a | 523.5 | 51 | 100% | Possible SOAF investigation (Storm Overflow Assesment Framework) with EA agreement
Anglian Water | EIGHT ASH GREEN-FORD ST TPS | ASENF3756 | CSO | N/a | N/a | 774 | 60 | 99.91% | Operational issue under investigation
Anglian Water | EIGHT ASH GREEN-HEATHFIELDS SP | ASENF2371/V003 | CSO | N/a | N/a | 7.5 | 4 | 50.36% | EDM Monitor issue now resolved
Anglian Water | ELMSTEAD-HOLLY WY THTCHRS D SP | ASENF2389/V003 | CSO | N/a | N/a | 0 | 0 | 100%
Anglian Water | ELMSWELL STW | ASCNF1065V001 | CSO | N/a | N/a | 306 | 35 | 99.92%
Anglian Water | ELSWORTH-ROGERS CL SP | AWCNF3519/11472/V001 | CSO | N/a | N/a | 74.5 | 7 | 100%
Anglian Water | ERPINGHAM-CALTHORPE BRIDGE SM | AW4NF1913/V001 | CSO | N/a | N/a | 238.75 | 28 | 100%
Anglian Water | ESSENDINE TPS | AW5NF5257/V001 | CSO | N/a | N/a | 186.25 | 10 | 100%
Anglian Water | EVENLEY STW | AWCNF2056B | CSO | N/a | N/a | 177.25 | 17 | 100%
Anglian Water | EVERDON STW | AWNNF3372/13345/V001 | CSO | N/a | N/a | 326.75 | 69 | 100% | Changed to alternative monitor type, now resolved
Anglian Water | EYE-HOXNE RD STW | AW4NF64X/V003 | CSO | N/a | N/a | 418.25 | 33 | 94.59%
Anglian Water | EYE-KINGS BR LOWGATE ST TPS | ASENF2283/V003 | CSO | N/a | N/a | 12.75 | 2 | 100%
Anglian Water | EYE-PETERBOROUGH ROAD SP | AWNNF2804A | CSO | N/a | N/a |  |  |  | NPS have not yet issued a CSO condition under TDC project
Anglian Water | FELSTED STW | AW2NF911C | CSO | N/a | N/a | 204.5 | 22 | 100%
Anglian Water | GRANBOROUGH-BATES CLOSE TPS | AWCNF3199/11350/V001 | CSO | N/a | N/a | 0 | 0 | 100%
Anglian Water | GRASBY STW INLET OV | ANNNF2329/V002 | CSO | N/a | N/a | 34.75 | 12 | 100%
Anglian Water | GREAT EASTON STW (LEICS) | AW5NF/768/V002 | CSO | N/a | N/a | 717.75 | 62 | 100% | Operational issue resolved, under further investigation
Anglian Water | GRIMSBY RIBY ST.PS O.F | AW3TS226/227D | CSO | N/a | N/a | 36.25 | 10 | 100%
Anglian Water | GRIMSCOTE SP | AW5NF177/V001 | CSO | N/a | N/a | 0 | 0 | 100%
Anglian Water | GRIMSTON STW | AECNF948v001 | CSO | N/a | N/a | 917.5 | 53 | 100% | Catchment investigation underway
Anglian Water | GT BADDOW-BRAMSTON CL OV | ASENF3030/12075/V001 | CSO | N/a | N/a | 31.5 | 14 | 100%
Anglian Water | GT COATES-STATION RD SP | ANNNF3505/13457/V001 | CSO | N/a | N/a | 1.5 | 3 | 100%
Anglian Water | GT EASTON-BRIDGEFOOT TPS | ASENF646/10513/V001 | CSO | N/a | N/a | 51.75 | 6 | 100%
Anglian Water | GT OAKLEY-SPARROWS CNR SP | AW2NFE02784/V001 | CSO | N/a | N/a | 51 | 17 | 100%
Anglian Water | GT WALTHAM-HOWE ST SP | ASENF2394/V003 | CSO | N/a | N/a | 0 | 0 | 100%
Anglian Water | GT WHELNETHAM STW | ASCNF/2062/V005 | CSO | N/a | N/a | 239.75 | 15 | 100%
Anglian Water | GT YELDHAM-POOLE ST SM | EPR/NB3992WR/V001 | CSO | N/a | N/a | 146.25 | 19 | 100%
Anglian Water | HADDENHAM STW | AECNF1089v002 | CSO | N/a | N/a | 170 | 20 | 100%
Anglian Water | HADDENHAM-NEW TOWN RD SP | AECNF2494/V002 | CSO | N/a | N/a | 57.25 | 9 | 100%
Anglian Water | HALSTEAD STW | AW2NF/524/V004 | CSO | N/a | N/a | 419.5 | 41 | 100%
Anglian Water | HARDINGSTONE SEWERAGE SCHEME (AKA Delapre Golf course) | AW5NF71 | CSO | N/a | N/a | 115 | 56 | 99.93% | Under investigation
Anglian Water | HARDWICK MEADOWS FIELD SSO | AW5NF2030/1 | CSO | N/a | N/a | 25.75 | 20 | 99.72%
Anglian Water | HARPOLE-NORTHAMPTON RD SSO | AWCNF4018/13665/V001 | CSO | N/a | N/a | 33 | 16 | 97.84%
Anglian Water | HATLEY ST GEORGE STW | ASCNF472A | CSO | N/a | N/a | 1572.25 | 70 | 100% | Operational issue now resolved
Anglian Water | HAWKWELL-RECTORY RD HAWKWELL | AW2NFE10166 | CSO | N/a | N/a | 0 | 0 | 99.7%
Anglian Water | HELMDON TPS | AW1NF/223/V001 | CSO | N/a | N/a | 340.5 | 27 | 100%
Anglian Water | HEMSWELL R A F STW | ANNNF2068B | CSO | N/a | N/a | 205.75 | 13 | 96.84%
Anglian Water | HOLTON-TETNEY LA TPS | AW3NF443/V001 | CSO | N/a | N/a | 0 | 0 | 98.43%
Anglian Water | HULLBRIDGE-KESWICK AVENUE | AW2NFE04179/V001 | CSO | N/a | N/a | 0 | 0 | 99.95%
Anglian Water | INGRAVE-PS | ASENF1109/V001 | CSO | N/a | N/a | 22.75 | 7 | 100%
Anglian Water | Irthlingborough Lime St CSO | EPR/NB3691EW/V001 | CSO | N/a | N/a | 26.25 | 24 | 99.87%
Anglian Water | KETTERING-VALLEY WALK SSO | AW5NF1831/V001 | CSO | N/a | N/a | 651 | 62 | 99.99% | Under investigation
Anglian Water | KIBWORTH-RAILWAY BRIDGE SSO | AW5NF1869/V001 | CSO | N/a | N/a | 2.75 | 6 | 99.99%
Anglian Water | KIBWORTH-WESTSIDE SSO | AW5NF1873 | CSO | N/a | N/a | 0 | 0 | 100%
Anglian Water | KINGS LYNN-SAMPHIRE PLACE SP | AECNF680/10468/V001 | CSO | N/a | N/a | 2 | 5 | 100%
Anglian Water | KNAPWELL-SP | AWCNF3523/11492/V001 | CSO | N/a | N/a | 42.75 | 3 | 100%
Anglian Water | KNOSSINGTON STW | AWNNF3066(SSO) | CSO | N/a | N/a | 495 | 46 | 100% | Operational issue under investigation
Anglian Water | LACEBY STW | ANNNF1490/V001 | CSO | N/a | N/a | 309.25 | 45 | 99.86%
Anglian Water | LAXFIELD STW | ASENF3088 | CSO | N/a | N/a | 119.5 | 26 | 100%
Anglian Water | LEASINGHAM-MOOR LA TPS | AW3NFF1039B/V001 | CSO | N/a | N/a | 0 | 0 | 100%
Anglian Water | LINCOLN-OUTER CIRCLE RD SSO | ANNNF90835/10242/V001 | CSO | N/a | N/a | 1.25 | 3 | 89.5% | Under investigation
Anglian Water | LINCOLN-SINCIL BANK SSO | AW3NF833/V001 | CSO | N/a | N/a | 2988.5 | 126 | 100% | Reporting logic resolved
Anglian Water | LITTLE BYTHAM-STATION RD SSO | AW5NF1812/V001 | CSO | N/a | N/a | 60.75 | 9 | 100%
Anglian Water | LITTLE DOWNHAM PS | AW1NF445 | CSO | N/a | N/a | 0 | 0 | 100%
Anglian Water | LITTLE DOWNHAM STW | AECNF10119B | CSO | N/a | N/a | 214.75 | 34 | 100%
Anglian Water | LITTLE WRATTING SPS | AW2NFE02280/V001 | CSO | N/a | N/a | 191 | 20 | 100%
Anglian Water | LITTLEPORT STW | AECNF675/10518/V006 | CSO | N/a | N/a | 207.75 | 26 | 100%
Anglian Water | LOWESTOFT-NORWICH RD #2 SO | ASENF16992/1 | CSO | N/a | N/a | 0.75 | 3 | 99.98%
Anglian Water | LOWESTOFT-NORWICH RD SO | ASETS16992 | CSO | N/a | N/a | 0.75 | 3 | 99.98%
Anglian Water | LOWESTOFT-ROTTERDAM RD #1 SO | EPR/LB3996NV/V001 | CSO | N/a | N/a | 0.25 | 1 | 98.94%
Anglian Water | LOWESTOFT-ST PETERS ST #1 SO | EPR/MB3495AV/V001 | CSO | N/a | N/a | 7.5 | 21 | 96%
Anglian Water | LT DOWNHAM-CALIFORNIA SSO | AECNF3545/11457/V001 | CSO | N/a | N/a | 5.5 | 9 | 100%
Anglian Water | LT WALTHAM-CHATHAM GN SP | ASENF2200/V003 | CSO | N/a | N/a | 0 | 0 | 100%
Anglian Water | MANEA-TOWN LOTS STW | AECNF11429/V002 | CSO | N/a | N/a | 206 | 28 | 100%
Anglian Water | MARKET HARBOROUGH STW | AW5NF739/V002 | CSO | N/a | N/a | 578.25 | 51 | 100% | Possible SOAF investigation (Storm Overflow Assesment Framework) with EA agreement
Anglian Water | MARSTON-STATION ROAD TPS | AWCNF3168/11325/V001 | CSO | N/a | N/a | 4.25 | 1 | 100%
Anglian Water | MEARS ASHBY MAIN SP | AW5NF455/V001 | CSO | N/a | N/a | 1.25 | 2 | 100%
Anglian Water | MENDLESHAM-TPS | ASENF2457A | CSO | N/a | N/a |  |  |  | NPS have not yet issued a CSO condition under TDC project
Anglian Water | MEPAL STW | AECTF11049C | CSO | N/a | N/a | 106.5 | 18 | 100%
Anglian Water | METHERINGHAM STW | AW3NFF821/V001 | CSO | N/a | N/a | 199.5 | 34 | 100%
Anglian Water | MIDDLETON STW (NORTHANTS) | AW5NF/5226C/V001 | CSO | N/a | N/a | 6 | 5 | 100%
Anglian Water | MOLESWORTH STW | AWCNF11400D | CSO | N/a | N/a | 166.25 | 13 | 100%
Anglian Water | N KELSEY-BRIGG RD TPS | ANNNF2500/V003 | CSO | N/a | N/a | 15.25 | 12 | 100%
Anglian Water | NASH-REAR OF CHURCH SP | AWCNF2735/V003 | CSO | N/a | N/a | 10.75 | 1 | 100%
Anglian Water | NEWMARKET STW - CSO | AW1NF2476/V001 | CSO | N/a | N/a | 0 | 0 | 100%
Anglian Water | Newmarket STW SSO | AW1NF2476/V001 | CSO | N/a | N/a | 67.25 | 12 | 100%
Anglian Water | NORTH HYKEHAM STW | ANNNF1153/V001/1 | CSO | N/a | N/a | 133 | 7 | 100%
Anglian Water | NORTHAMPTON - BERRY LANE CSO | AW5NF1815/V001 | CSO | N/a | N/a | 4.25 | 6 | 93.67%
Anglian Water | NORTON STW (NORTHANTS) | AW5NF247E | CSO | N/a | N/a | 95.75 | 22 | 100%
Anglian Water | OLDHURST STW | AWCNF1160C/V002 | CSO | N/a | N/a | 633.5 | 49 | 100% | Under investigation
Anglian Water | ONEHOUSE-NORTHFIELD EST TPS | ASENF2508A | CSO | N/a | N/a |  |  |  | NPS have not yet issued a CSO condition under TDC project
Anglian Water | OUNDLE-GLAPTHORN RD SP | AWNNF2321A | CSO | N/a | N/a | 0 | 0 | 100%
Anglian Water | OVER STW | ASCNF1162/V002 | CSO | N/a | N/a | 0 | 0 | 100%
Anglian Water | OVER-FEN ROAD SO SSO | AW1NF1412/V001 | CSO | N/a | N/a | 0 | 0 | 100%
Anglian Water | PAPWORTH EVERARD STW | AW1NF1003/V003 | CSO | N/a | N/a | 0 | 0 | 100%
Anglian Water | PAULERSPURY-CUTTLE MILL SP | AW1NF829 | CSO | N/a | N/a | 23.75 | 5 | 100%
Anglian Water | PERTENHALL STW | AW1NF2724B | CSO | N/a | N/a | 3547 | 165 | 100% | Operational issue now resolved
Anglian Water | PETBORO-WERRTON FENBRIDGE SP | AWNNF2805/V003 | CSO | N/a | N/a | 1 | 2 | 100%
Anglian Water | PETERBOROUGH ULLSWATER AVE MM | AW5NF1795/V001 | CSO | N/a | N/a | 7.25 | 1 | 100%
Anglian Water | PITSFORD SP | AWNNF3676/13563/V001 | CSO | N/a | N/a | 17 | 8 | 100%
Anglian Water | PLESHEY-FORD END SP | ASENF2311/V003 | CSO | N/a | N/a | 0 | 0 | 100%
Anglian Water | POLEBROOK TPS | AWNNF2534A | CSO | N/a | N/a |  |  |  | NPS have not yet issued a CSO condition under TDC project
Anglian Water | POTTERSBURY-CHURCH END SO- SSO | AW1NF1126/V001 | CSO | N/a | N/a | 37.5 | 5 | 99.3%
Anglian Water | POTTON-ROYSTON STREET SSO | AWCNF3246/11391/V002 | CSO | N/a | N/a | 0 | 0 | 100%
Anglian Water | RAMSDEN HEATH-HEATH RD SP | ASCNF2369A | CSO | N/a | N/a |  |  |  | NPS have not yet issued a CSO condition under TDC project
Anglian Water | RAMSEY-BODSEY TPS | AWCNF2779/V003 | CSO | N/a | N/a | 16.25 | 3 | 100%
Anglian Water | RAUNDS-BROOK ST SSO | AW5NF530 | CSO | N/a | N/a | 443.5 | 34 | 93.14%
Anglian Water | RAUNDS-ROTTEN ROW/HIGH STREET | AW5NF645/V001 | CSO | N/a | N/a | 0 | 0 | 98.34%
Anglian Water | RAYLEIGH-BARTLETTES RD SP | ASENF2130A | CSO | N/a | N/a |  |  |  | NPS have not yet issued a CSO condition under TDC project
Anglian Water | RAYLEIGH-EAST STW | ASENF1172/G | CSO | N/a | N/a | 32.5 | 4 | 100%
Anglian Water | RAYLEIGH-WEST STW | AW2TSE12870G | CSO | N/a | N/a | 1996.25 | 99 | 99.57% | Proposed SOAF investigation (Storm Overflow Assesment Framework) with EA agreement
Anglian Water | RAYLEIGH-WYBURNS AVE SP | AW2NFE10060 | CSO | N/a | N/a | 3 | 2 | 100%
Anglian Water | RAYNE-TPS | ASENF3974/15794/V001 | CSO | N/a | N/a | 27.5 | 7 | 100%
Anglian Water | REEPHAM STW (LINCS) | AW3NFF752 | CSO | N/a | N/a | 83.25 | 15 | 100%
Anglian Water | REEPHAM STW (NORFOLK) | AEENF2556A | CSO | N/a | N/a |  |  |  | NPS have not yet issued a CSO condition under TDC project
Anglian Water | REEPHAM-KENNEL LA/CLOUGH HIL | ANNNF1641/V003 | CSO | N/a | N/a | 0 | 0 | 99.13%
Anglian Water | ROCHFORD-DORIE AVE & ASHINGD | AW2NFE03369 | CSO | N/a | N/a | 0 | 0 | 88.07% | Under investigation
Anglian Water | ROCHFORD-SCOTTS HALL RD SP | ASENF2585A | CSO | N/a | N/a |  |  |  | NPS have not yet issued a CSO condition under TDC project
Anglian Water | ROTHERSTHORPE SP | AW5NF113/V001 | CSO | N/a | N/a | 0 | 0 | 100%
Anglian Water | ROUGHAM-KINGSHALL GRN SP | AW1NF1273/V001 | CSO | N/a | N/a | 12.25 | 2 | 100%
Anglian Water | ROYSTON STW | AW1NF/2535/V002 | CSO | N/a | N/a | 27.5 | 3 | 43.8% | EDM Monitor issue now resolved
Anglian Water | RUNWELL-BROCK HILL OVERFLOW | ASENF3152/12108/V001 | CSO | N/a | N/a | 0 | 0 | 99.97%
Anglian Water | RUNWELL-DOWHNAM RD OVERFLOW | ASENF3151/12107/V001 | CSO | N/a | N/a | 0 | 0 | 100%
Anglian Water | RUNWELL-TPS | AW2NFE03883/V001 | CSO | N/a | N/a | 0 | 0 | 100%
Anglian Water | RUSHDEN-COURT ESTATE SP | AWCNF2238A | CSO | N/a | N/a |  |  |  | NPS have not yet issued a CSO condition under TDC project
Anglian Water | RUSHDEN-DUCK STREET MS | AW5NF672/V001 | CSO | N/a | N/a | 227.75 | 32 | 99.92%
Anglian Water | RUSKINGTON-MH0102 MANOR ST SSO | ANNNF1750/V003 | CSO | N/a | N/a | 0.75 | 2 | 100%
Anglian Water | S KELSEY-SOUTH SP | ANNNF2598A | CSO | N/a | N/a |  |  |  | NPS have not yet issued a CSO condition under TDC project
Anglian Water | S Killingholme - Eastfield Rd | ANNNF13924/V001 | CSO | N/a | N/a | 2311.75 | 118 | 99.99% | Operational issue now resolved
Anglian Water | S. Killingholme Town Street CSO | ANNNF4178/13926/V001 | CSO | N/a | N/a | 3 | 6 | 100%
Anglian Water | SANDY STW | AW1NF/759/V002 | CSO | N/a | N/a | 1.25 | 1 | 100%
Anglian Water | SAWSTON STW | ASCNF1186/V001 | CSO | N/a | N/a | 149.75 | 11 | 100%
Anglian Water | SCOTHERN TPS | ANNNF3565/13483/V001 | CSO | N/a | N/a | 21.75 | 6 | 100%
Anglian Water | SHENFIELD AND HUTTON STW | ASENF10453/V004 | CSO | N/a | N/a | 350.25 | 45 | 100%
Anglian Water | SHIPDHAM-PARKLANDS AVENUE CSO | AEENF3669/12394/V001 | CSO | N/a | N/a | 107.75 | 38 | 99.98%
Anglian Water | SHOTLEY-OVERHALL FM STW | ASETS1532D | CSO | N/a | N/a | 0.25 | 1 | 100%
Anglian Water | SIBSEY STW | ANNNF10527v001 | CSO | N/a | N/a | 166.25 | 11 | 99.88%
Anglian Water | SKEGNESS-RICHMOND DR TPS | ANNNF3615/13482/V001 | CSO | N/a | N/a | 96.5 | 7 | 100%
Anglian Water | SKELLINGTHORPE STW | ANNNF1192C | CSO | N/a | N/a | 40.25 | 4 | 100%
Anglian Water | SNITTERBY SP | ANNNF90756/10111/V001 | CSO | N/a | N/a | 0 | 0 | 100%
Anglian Water | SOUTHEND - 21 - 27 SHAKESPEARE AVENUE | AW2NFE18768 | CSO | N/a | N/a | 0.25 | 1 | 99.98%
Anglian Water | SOUTHEND STW | S/WR340/V001 | CSO | N/a | N/a | 65.75 | 23 | 99.96%
Anglian Water | SOUTHERY-LITTLE LONDON SP | AECNF499/10369/V001 | CSO | N/a | N/a | 8.25 | 8 | 100%
Anglian Water | SOUTHERY-MILL DROVE STW | AECNF499/10369/V001 | CSO | N/a | N/a | 365.75 | 22 | 100%
Anglian Water | SOUTHMINSTER-16 HALL RD OV | ASENF307/10414/V001 | CSO | N/a | N/a | 263.25 | 41 | 99.83%
Anglian Water | SOUTHMINSTER-BURNHAM RD OV | ASENF306/10329/V002 | CSO | N/a | N/a | 30.5 | 64 | 99.81% | Under investigation
Anglian Water | SOUTHMINSTER-DEVONSHIRE RD SP | ASENF2251A | CSO | N/a | N/a |  |  |  | NPS have not yet issued a CSO condition under TDC project
Anglian Water | SPRATTON TPS | AWNNF2605/V003 | CSO | N/a | N/a | 2.5 | 1 | 100%
Anglian Water | ST IVES-ILEX ROAD TPS | AWCNF2782A | CSO | N/a | N/a |  |  |  | NPS have not yet issued a CSO condition under TDC project
Anglian Water | ST IVES-MEADOW LANE PS | AWCNF3196/11339/V001 | CSO | N/a | N/a | 5821.75 | 308 | 100% | Changed to alternative monitor type, now resolved
Anglian Water | ST OSYTH STW | AW2NFE08562H | CSO | N/a | N/a | 0.25 | 1 | 99.97%
Anglian Water | STALHAM-MILL ROAD TPS | AW4NF1917/12216/V001 | CSO | N/a | N/a | 15.5 | 7 | 99.97%
Anglian Water | STAMFORD - RUTLAND TERRACE | AWNNF4305 | CSO | N/a | N/a | 0 | 0 | 100%
Anglian Water | STANTON STW | ASCNF1208D | CSO | N/a | N/a | 106.25 | 14 | 100%
Anglian Water | Steeple Bumpstead Blois Rd TPS | AW2NFE15068/3 | CSO | N/a | N/a | 28.5 | 8 | 100%
Anglian Water | Steeple Bumpstead Lilley TPS | AW2NFE15068/2 | CSO | N/a | N/a | 43.5 | 5 | 100%
Anglian Water | Steeple Bumpstead WRC | ASENF1543B | CSO | N/a | N/a | 3.75 | 6 | 100%
Anglian Water | STEEPLE CLAYDON TPS | AWCNF4095/11966/V001 | CSO | N/a | N/a | 68.75 | 11 | 100%
Anglian Water | STIFFORD-CORRAN WAY SP | AW2NFE02783/V001 | CSO | N/a | N/a | 0 | 0 | 100%
Anglian Water | STOKE FERRY STW | AWCNF11338D | CSO | N/a | N/a | 0 | 0 | 100%
Anglian Water | STOTFOLD-BROOK END SP | AWCNF93038/10216/V001 | CSO | N/a | N/a | 7.25 | 2 | 100%
Anglian Water | STOWMARKET STW | ASENF1211v002 | CSO | N/a | N/a | 228 | 17 | 100%
Anglian Water | STOWMARKET-PRENTICE RD TPS | ASENF2538A | CSO | N/a | N/a |  |  |  | NPS have not yet issued a CSO condition under TDC project
Anglian Water | STRADBROKE OLD STW SP | ASENF3038/12059/V001 | CSO | N/a | N/a | 248 | 22 | 100%
Anglian Water | STRETHAM STW | AECNF1213B | CSO | N/a | N/a | 0 | 0 | 100%
Anglian Water | STRETHAM-OFF BERRY GREEN SP | AECNF10544C | CSO | N/a | N/a | 34.5 | 10 | 100%
Anglian Water | STRETHAM-OFF NEWMARKET RD TPS | AECNF10543/V001 | CSO | N/a | N/a | 257 | 25 | 100%
Anglian Water | STRETTON SP | AWNNF2639A | CSO | N/a | N/a |  |  |  | NPS have not yet issued a CSO condition under TDC project
Anglian Water | STUKELEY-LOW ROAD TPS | AWCNF2771/V003 | CSO | N/a | N/a | 644.75 | 53 | 100% | Operational issue under investigation
Anglian Water | STUNTNEY-LOWER STREET SP | AECNF3003/11072/V001 | CSO | N/a | N/a | 55.25 | 8 | 100%
Anglian Water | Sturmer Kedington Rd TPS | AW2NFE15068/1 | CSO | N/a | N/a | 0 | 0 | 100%
Anglian Water | STURTON BY STOW STW | ANNNF1215v001 | CSO | N/a | N/a | 100.75 | 14 | 100%
Anglian Water | SUDBURY-CORNARD RD SP | ASENF3546/12336/V001 | CSO | N/a | N/a | 1.25 | 4 | 100%
Anglian Water | SUTTON-STH OF THE ROW OV | AW1NF996/V001 | CSO | N/a | N/a | 164.75 | 21 | 99.97%
Anglian Water | SWARDESTON-THE COMMON TPS | AEENF2228/V003 | CSO | N/a | N/a | 0 | 0 | 100%
Anglian Water | THAXTED-PARK STREET | AW2NFE03679/V001 | CSO | N/a | N/a | 49.5 | 33 | 99.88%
Anglian Water | THETFORD-HAYLING PATH SP | AECNF778A/11042/V001 | CSO | N/a | N/a | 0 | 0 | 100%
Anglian Water | THORNBY SP | AWNNF2672A | CSO | N/a | N/a |  |  |  | NPS have not yet issued a CSO condition under TDC project
Anglian Water | THORNDON-STANDWELL GN TPS | ASENF2673/V003 | CSO | N/a | N/a | 132 | 17 | 100%
Anglian Water | THORNEY STW | AW5NF361/V001 | CSO | N/a | N/a | 0 | 0 | 100%
Anglian Water | THORRINGTON STW | AW2NFE02070G | CSO | N/a | N/a | 138.5 | 31 | 93.73%
Anglian Water | THURLEIGH-CHURCH END SP | AWCNF2676/V003 | CSO | N/a | N/a | 0 | 0 | 90.59%
Anglian Water | THURLTON-THE STREET TPS | AEENF2665/V003 | CSO | N/a | N/a | 46.75 | 7 | 100%
Anglian Water | TINGEWICK - FOUL SP | AWCNF3212/11346/V001 | CSO | N/a | N/a | 237.75 | 24 | 100%
Anglian Water | TIPTREE STW | AW2NFE04662/V1 | CSO | N/a | N/a | 743.75 | 47 | 100% | Possible SOAF investigation (Storm Overflow Assesment Framework) with EA agreement
Anglian Water | TODDINGTON-LUTON ROAD SSO | AW1NF2737/V001 | CSO | N/a | N/a | 2 | 8 | 98.67%
Anglian Water | TOLLESHUNT-D ARCY STW | ASENF1317B | CSO | N/a | N/a | 2.5 | 2 | 99.99%
Anglian Water | TWYFORD-SCHOOL LANE TPS | AW1NF514/V001 | CSO | N/a | N/a | 1.5 | 1 | 100%
Anglian Water | ULCEBY SKITTER SP | ANNNF3465/13431/V001 | CSO | N/a | N/a | 12.75 | 5 | 100%
Anglian Water | WAINFLEET STW | ANNNF10437C | CSO | N/a | N/a | 17.5 | 7 | 100%
Anglian Water | WALCOTT-THE DRIFT SP | ANNNF3428/13429/V001 | CSO | N/a | N/a | 71.75 | 21 | 100%
Anglian Water | WALGRAVE SP | AWNNF3218/13356/V001 | CSO | N/a | N/a | 0 | 0 | 100%
Anglian Water | WALSHAM LE WILLOWS-CAUSEWY TPS | ASCNF10014/V001 | CSO | N/a | N/a | 106.5 | 32 | 100%
Anglian Water | WARBOYS-CHURCH STREET TPS | AWCNF890/11054/V001 | CSO | N/a | N/a | 11.25 | 3 | 100%
Anglian Water | WARDY HILL-WITCHAM ROAD SP | AECNF768A | CSO | N/a | N/a | 0 | 0 | 100%
Anglian Water | WARMINGTON STW | AW5NF/96/V003 | CSO | N/a | N/a | 0 | 0 | 100%
Anglian Water | WATERBEACH STW | ASCNF/10357/V004 | CSO | N/a | N/a | 240.75 | 16 | 100%
Anglian Water | WATTON STW | AECNF/10530/V003 | CSO | N/a | N/a | 291.75 | 27 | 100%
Anglian Water | WEEDON BEC WEST STREET SSO | AW5NF65/2 | CSO | N/a | N/a | 6.75 | 2 | 100%
Anglian Water | WEEDON STW | AWNNF3070v002 | CSO | N/a | N/a | 131.5 | 21 | 100%
Anglian Water | WELLINGBOROUGH TPS | AW5NF589/V003 | CSO | N/a | N/a | 0 | 0 | 100%
Anglian Water | WELLINGBOROUGH-CROYLAND GARD | AWNNF749A | CSO | N/a | N/a | 0.25 | 1 | 97.39%
Anglian Water | WELLINGBOROUGH-HATTON PARK SSO | AWNNF4110 | CSO | N/a | N/a | 23 | 9 | 99.16%
Anglian Water | WELLINGBOROUGH-ISE VALLEY TPS | AWNNF2405/V003 | CSO | N/a | N/a | 38 | 3 | 99.89%
Anglian Water | WELLINGBOROUGH-RAIL STATIONSSO | AW5NF311(4)A | CSO | N/a | N/a | 29.25 | 19 | 99.88%
Anglian Water | WELLINGBOROUGH-SHEPHERDS YAR | AW5NF1807/V001 | CSO | N/a | N/a | 0.25 | 1 | 99.89%
Anglian Water | WELLS-FREEMAN ST OV | AEENF820/12015/V001 | CSO | N/a | N/a | 0 | 0 | 99.89%
Anglian Water | WELTON-LE-WOLD STW | AW3NFF1300/V001 | CSO | N/a | N/a | 0.75 | 2 | 100%
Anglian Water | WENTWORTH-COLLEGE FARM SP | AW1NF1000/V001 | CSO | N/a | N/a | 0 | 0 | 100%
Anglian Water | WESTON BY WELLAND STW | AW5NF5224C | CSO | N/a | N/a | 0 | 0 | 100%
Anglian Water | WEYBOURNE-BEACH LANE SP | AEENF/3679/V001 | CSO | N/a | N/a | 5.75 | 1 | 100%
Anglian Water | WHITE NOTLEY STW | AW2NF811v001 | CSO | N/a | N/a | 143.75 | 15 | 100%
Anglian Water | WHITTLESEY STW | AW5NF810/V002 | CSO | N/a | N/a | 618 | 36 | 91.21%
Anglian Water | WICKEN-DRURY LANE SP | AECNF797A | CSO | N/a | N/a | 183.25 | 13 | 100%
Anglian Water | WICKFORD STW | ASETS1322v001 | CSO | N/a | N/a | 220.75 | 16 | 100%
Anglian Water | WICKHAM SKEITH-TPS | ASENF2719A | CSO | N/a | N/a |  |  |  | NPS have not yet issued a CSO condition under TDC project
Anglian Water | WICKHAMBROOK-BROOK COTTS TPS | ASENF3638/12368/V001 | CSO | N/a | N/a | 1.25 | 2 | 99.98%
Anglian Water | WILBURTON STW | AECNF803/11021/V001 | CSO | N/a | N/a | 465.5 | 46 | 100% | Possible SOAF investigation (Storm Overflow Assesment Framework) with EA agreement
Anglian Water | WINTERTON-EARLSGATE SP | AW3NFF1044/V001 | CSO | N/a | N/a | 0 | 0 | 100%
Anglian Water | WINTERTON-PARK ST 1 SSO | PR3NFF498 | CSO | N/a | N/a | 5.5 | 5 | 100%
Anglian Water | WISBECH-LYNN RD TPS | AW5TS799B/V001 | CSO | N/a | N/a | 46.75 | 12 | 100%
Anglian Water | WITCHAM STW | AECNF/1958/V002 | CSO | N/a | N/a | 464.5 | 39 | 100%
Anglian Water | WITCHFORD STW | AECNF1402v001 | CSO | N/a | N/a | 3 | 2 | 100%
Anglian Water | WITHAM STW | ASETS12105C | CSO | N/a | N/a | 230.25 | 16 | 100%
Anglian Water | WIVENHOE-PHILLIP RD OV | ASETS4128/19248/V001 | CSO | N/a | N/a | 83.75 | 9 | 98.65%
Anglian Water | WIVENHOE-THE FOLLY OV | ASETS4127/19247/V001 | CSO | N/a | N/a | 2970 | 135 | 98.42% | Under investigation
Anglian Water | WOBURN PS | AWCNF1249A | CSO | N/a | N/a | 389.5 | 30 | 100%
Anglian Water | WOLLASTON LONDON RD SSO | AW5NF2034/V001 | CSO | N/a | N/a | 20 | 22 | 95.3%
Anglian Water | WOODFORD-THE MOORINGS SP | AWNNF2736/V002 | CSO | N/a | N/a | 209 | 27 | 100%
Anglian Water | WOODHALL SPA STW TPS | ANNNF10217/V001 | CSO | N/a | N/a | 141 | 36 | 100%
Anglian Water | WOOLVERSTONE-MARINA TPS | ASETS724/V001 | CSO | N/a | N/a | 3.25 | 2 | 100%
Anglian Water | WRITTLE-LAWFORD LA SP | AW2NFE22969 | CSO | N/a | N/a | 0 | 0 | 100%
Anglian Water | WYMONDHAM STW | AW4NF/430X/V003 | CSO | N/a | N/a | 237.5 | 23 | 100%
Anglian Water | WYMONDHAM-STATION RD SP | AEENF3358/12206/V001 | CSO | N/a | N/a | 0 | 0 | 100%
Anglian Water | WYTON (RAF) STW | AWCNF11516v002 | CSO | N/a | N/a | 724 | 53 | 100% | Under investigation
Anglian Water | YARDLEY HASTINGS STW | AWNNF13310B | CSO | N/a | N/a | 557 | 53 | 99.98% | Under investigation
Anglian Water | YARDLEY HASTINGS WORKS SP | AWNNF3109/13311/V001 | CSO | N/a | N/a | 7 | 5 | 100%